ADDENDUM TO TENDER DOCUMENT NO. PUR/FCRI/20046/VFD/2020-21

Date: 09-11-2020
Sub: 
Procurement of VFD for 187KW Pump Motor. 

Further to the Tender Document, the following points also may be noted and forward the quotation accordingly. 

1. The drive with external filter (to reduce THD to less than 5%) may be housed in same panel or two separate panels. Panels shall be supplied fully assembled & prewired so that site installation/commissioning work does not take too long, considering the Covid-19 protocols. 

2. IP 55 Panels are acceptable but shall be so designed as to prevent ingress of water and Humidity which may otherwise damage the VFDs/electronics. 

3. Incoming Power and outgoing cables to existing 187KW Pump Motor shall be terminated to Panel by the supplier during installation/commissioning. 

4. Beside local operation, remote operation shall be through program/software on Computer at the Laboratory Control Room.
The due date for submission of quotation is extended upto 16-11-2020. 
Regards, 
K.G. Sivaprakash, Dy. Director 

Head – Logistics

