## Slide 1
Course on:
Control Valves & Actuators
8th – 10th December, 2021
Course Organised by: फ्लूइड कंट्रोल रिसर्च इंस्टिट्यूट FLUID CONTROL RESEARCH INSTITUTE
(ISO 9001: 2015 प्रमाणित, एन ए बी एल मान्यता प्राप्त संगठन)
(ISO 9001: 2015 Certified, NABL accredited organisation)
(भारी उद्योग और सार्वजनिक उद्यम मंत्रालय, भारत सरकार)
(Ministry of Heavy Industries & Public Enterprises, Govt. of India)
कंजीकोडे पश्चिम, पालक्काड - 678 623, केरला
Kanjikode West, Palakkad – 678 623, Kerala.
Tel: +91-491-2566120, 2566206, 2566119, 2569010, Fax: +91-491-2566326
223rd in Series

## Slide 2
Major Calibration & Test Facilities at FCRI
About FCRI
FCRI, a state of the art Flow and Fluid Engineering Institute, first of its kind in South East Asia is dedicated to Research & Development in Fluid Flow Measurement & Control Techniques. More than 85 sponsored projects for various reputed organisations have been successfully completed by the institute. The Institute provides facilities towards technological developments to the flow product industries and serves as a National Certifying Authority and Quality / Reliability evaluation facility. The Institute also provides facility for calibration of metrological, pressure, temperature, electrical parameters, noise, vibration etc. for ISO certification. Apart from testing and calibration, the Institute conducts National and International training programmes in the field of flow control, Measurement & Instrumentation, Metrology, Pressure and Temperature measurement / Calibration and related areas.
Laboratory Fluid flow NABL C026/T027 |  |  | Maximum Flow Rate (m3/h) | Maximum Line Size | Uncertainty in Flow Rate (% reading) | Uncertainty in Volume (% reading) |  | 
Water Flow |  |  | 4500 15000 | 900mm 2000mm | Upto 200m³/h : ±0.05% 200 to 2500m³/h : ±0.10% 2500 to 4500 m³/h : ±0.15% 5000-15000m³/h : ±0.5% | 2m3-20m3 : ± 0.05% |  | 
Air Flow At Ambient conditions |  |  | 10000 | 400mm | 0.016 m³/hr to 0.25m³/hr : ±0.3% 0.25 m³/hr to 40m³/hr : ±0.1% 0.7 m³/hr to 400m³/hr : ±0.15% > 400m³/hr 10000m3hr : ±0.25% | 0-0.5 m3 : ±0.1% 2 m3 : ±0.1% |  | 
Closed loop Air Test Facility (20 Bar) *Calibration Loop *Gravimetric Loop Velocity |  |  | 10- 400m3/h 4-1000kg/h | 150mm 50mm | ± 0.3% ± 0.1% |  |  | 
Oil Flow |  |  | 650 | 250mm | 0-100m3/hr : ± 0.05% 100-600m3/hr : ± 0.075% | Upto 1.8m³ : ± 0.03% 1.8m³ to 9 m³ : ± 0.04% |  | 
Compressed Natural Gas |  |  | 4500 Kg/hr | 1.5” | ± 0.1%* | *under-Accreditation |  | 
Mechanical Calibration Metrological, Pressure, Noise, Vibration etc. NABL C 056 | Parameters |  | Range | Calibration & Measurement Capability | Parameters | Range | Calibration & Measurement Capability | 
 | MASS-Standards Weights |  | 1mg and upto 500kg | 0.0048 mg to 1.2g | PRESSURE pressure transducers | 1 to 60bar 60 – 1200bar | 0.04% of rdg 0.026% of rdg | 
 | MASS-Weighing Balance & Mass Comparator |  | Various ranges from 0-2 g to 600 Kg | 0.005mg to 0.05 Kg | Pressure-gauge pressure transducers (pneumatic) | 30mbr to 2000 mbar abs | 0.02% of rdg | 
 |  |  |  |  |  | 0.25 bar to 20 bar abs | 0.038% of rdg | 
 |  |  | 600 Kg to 2000 Kg | 0.1 Kg |  |  |  | 
 |  |  | 2000 Kg to 20000Kg | 3.53 Kg |  |  |  | 
 | VOLUME -Specific Gravity bottle, Pipettes, Burettes Measuring Flasks |  | 1 ml – 5000 ml | 0.05ml to 0.7ml | Pressure-Low pressure gauge & differential | 0.2 mbar to 10 mbar | 0.88% rdg | 
 |  |  |  |  |  | 10mbar to 160mbar | ± 0.077%of rdg | 
 | DENSITY - Hydrometers |  | 0.64 g/cc – 1.98 g/cc | ±0.0005 g/ml | Pressure-gauge pressure transducer (pneumatic) | 30 mbar to 2000 mbar | ± 0.02% of rdg | 
 | VISCOSITY | Dynamic | 1to 60000 mPas/cSt | ± - 1.0% rdg | Pressure-vacuum (gauge) | -100 to 980mbar g | ± 0.06 of rdg | 
 |  | Kinematic | 1to 60000 cSt | ± - 1.0% rdg | LENGTH- slip Gauges (steel) | 0.5 – 100 mm | 0.05 µm to 0.16µm | 
 | Acoustic Pressure – Free Field |  | 125 Hz to 20 Hz | ≤0.5 dB | Vibration Test Facility | 6000 Kgf / 2000Kgf shaker 5 Hz to 2000 Hz |  | 
 | Acoustic Pressure – Pressure Field |  | 94 & 114 dB @ 1 kHz 124 dB @ 250 Hz | 0.5dB | Acoustic Test Facility | Hemi Anechoic Chamber ISO3745 |  | 
 | Acoustic Power |  | 125Hz to 16 kHz | 2.0dB | Temperature & RH Test Facility | -70 to 180 deg C 10 to 98 % RH |  | 
 | Vibration Amplitude - Analyzer |  | 0.1 to 15g (acceleration) 1 to 240mm/s(velocity) 0.01 to 10mm(displacement) | 2.4 % |  |  |  | 
 | Vibration Amplitude –Sensor Linearity |  | 2Hz to 15 kHz Upto 30g pk | ≤2.5 % 1.25% |  | Dust – IP 5X, 6X |  | 
 | Speed (Contact) |  | 100 to 10000 rpm | 1.6 rpm | * IP Tests |  |  | 
 | Speed (Non-contact) |  | 60 to 100000 rpm | ≤2.4 rpm |  | Water – IP X3 to X8 |  | 
Electro Technical Calibration Electro Technical Calibration NABL C 0254 |  |  | ±100µV to ±1000 V ±0.1mV to ±1000V 1mV to 1000V 100mV to 1000V | 0.60% to 0.001% 0.12% to 0.012% 0.4% to 0.014% 0.04% to 0.03% | DC Current Source Measure AC Current Source Measure | ±100µA to ±1000A ±100µA to ±20A 100µA to 700A 100µA to 10A |  | 0.014% to 2.0% 0.013% to 0.05% 0.04% to 1% 0.06% to 0.035%
 | Resistance Source Measure |  | 10µΩ 10G Ω 100µΩ 1G Ω | 0.6% to 0.02% 0.42% to 0.5% |  |  |  | 
 | Time |  | 1 Sec – 5400 sec | 1.53 µSec to 5.4mSec | Frequency | 1 Hz to 1 GHz |  | 10mµHz to 1.2 Hz
Thermal Calibration NABL C 0255 | Temperature |  | -70 ºC to +1200 ºC | ±0.07ºC to 1.3ºC | Fixed Point Cells | -38.8344ºC to 961.78ºC |  | 2.9mºC to 19.7mºC
 | *Temperature & Humidity Chamber |  | - 70ºC to 180ºC 10% to 95% RH |  |  |  |  | 

## Slide 3
About the Programme
The control valve plays a vital role in automatic control of modern plants, which depends on the correct distribution and control of flowing liquids or gases. The modern processing plant contains hundreds, and often thousands of valves are complementary activities, each influencing the other, sometimes strongly sometimes subtly. Proper selection of control system elements plays an important role in proper functioning of process plants. Flow being a major parameter in any process, the selection of control valves to suit the application is very important. Valves are one of the element causing fugitive emission in a process plant. As the population of valves in a plant is high, cumulative effect of them is quite significant. Present course covers matching of valve / actuator technical specifications and system operational parameters. The course presents a practical approach to selection, sizing and installation and performance evaluation of control valves/actuators. Present course also covers in brief of fugitive emission, life cycle testing, special tests for nuclear power industry etc.
Topics Covered
Basic classification of valves and their characteristics
Basics of selection and sizing of control valves and matching actuator, meeting system, operational requirements etc.
Air Valves , Safety Relief Valves and Breather cum Relief Valves Test Procedures
Cavitation in valves – Theory and Testing
Valves for cryogenic services – Test Program
Fugitive emission ( Theory and testing) on Valves
Endurance test of valves and actuators – Life estimation
Valves for nuclear applications
Noise levels from control valves
Valves for power lector
Seismic Qualification of Valves
Diagnostics for valve actuators
Target Group
Personnel who are involved in design, selection, installation or operation of valves and actuators within the Oil & Gas, Petroleum, Water, Chemical Process, Pharmaceuticals, Plastics, Paper and Food Industries. A basic understanding of flow measurement / Control requirements & applications would be advantageous.
Fees
For Participants working in India:
Rs. 15,435/- + 18% GST Rs.2,778/-
Total Rs. 18,213/- per participant.*
For Participants from abroad:
US$ 908/- + 18% GST US$ 163/- + Charge US$ 20/- = Total US$ 1,091/- per Participant.
we accept e-payment only
Bank Details : State Bank of India(SME Branch) Kanjikode west, Palakkad - 678 623
Account Name : Fluid Control Research Institute
Account No. : 10258760349 & IFSC Code : SBIN0006640
Please email GST identification number , invoice address and e-payment details to training@fcriindia.com
The Fees includes registration fee, course materials, participation certificate, group photo, and lunch & refreshments during the course days). FCRI is exempted from payment of income tax.
This course is purely Non-Residential. Assistance can be provided for booking accommodation in hotels in and around Palakkad, Kerala.
Flow Coefficient test of Valves
Seismic testing of Valves
Fugitive emission testing of Valves
Special tests on Valves
Lab Experiments /Demonstrations
*10% Discounts for nominating 5 or more participants from same organisation

## Slide 4
RECOGNITION OF FCRI
Agency | Category
National Accreditation Board for Testing and Calibration Laboratories (NABL) | Calibration/Testing of Flow Products, Mechanical Measurements Thermal Calibration, Electro Technical Calibration
Netherlands Measurement Institute (NMI) | CLATF (20 Bar, 400 m3/h) of FCRI complies with the criteria for Calibration Laboratories as per ISO/IEC 17025
Department of Science & Technology | Recognized R&D Institute
Department of Weights & Measures (Ministry of Civil Supplies) | Model Approval tests on flowmeter for custody transfer of oil/gas as per OIML Standard
Chief Controller of Explosives, Nagpur | Testing of Safety Relief Valves
Bureau of Indian Standards | Testing of Water Meters, Anemometers etc.
Institution of Fire Engineers, New Delhi | Hydraulic Qualification tests on fire fighting equipments
Central Pollution Control Board | Certification of Petrol, Kerosene & Diesel Generators for type approval
Nuclear Power Corporation | Seismic Studies for Power plant Equipments
Ministry of External Affairs (ITEC) & Ministry of Finance, Dept. of Economic Affairs (Colombo Plan) | Training programmes for Foreign Nationals on Flow Measurement and Instrumentation for Oil Gas & Water utilities/industries
GCAS Quality Certification Pvt. Ltd | ISO 9001:2000 Certification in Calibration & testing of fluid flow component, calibration of mechanical, electro technical, thermal instruments, flow calibration & measurements at site, project consultancy & implementation, professional training.
Registration
Registration for the training program can be confirmed by sending the details: Name, Designation, Organisation, Postal Address Email/Phone/Fax/Post to the address given below. The course fee is to be remitted in advance through crossed Demand Draft favoring “Fluid Control Research Institute”, payable at Palakkad. The registration must be completed on or before 30th November 2021.
Isolation and Control Valves/Actuators | Cv, FL, Seat leakage test, Fugitive emission, cryogenic testing, torque
Water Meters | All test as per IS6784, IS779,IS2373, IS04064
Butterfly Valves & Actuators | POD tests as per AWWA C504 & C540
Venting devices/air valves | API 2000
Safety Relief Valves | ASME PTC 25
Gas Turbine Meters | OIMLR137-1 Model Approval
Gas Regulators | BS EN 334
Diaphragm Gas meters | BS EN 1359 Model Approval
Liquid Flow Meters | As per relevant standards
NABL Approved Test Facilities
For further information & Registration, please contact:
Head Training,
Fluid Control Research Institute
Kanjikode West, Palakkad-678623, Kerala, India
Telephone: 0491-2566206, 2566120,
Fax: 0491-2566326
Email: training@fcriindia.com
Website: www.fcriindia.com
Other Tests
Life Cycle Tests & Cavitation Tests for valves
Proof of Design Tests
Life cycle and performance tests for air release / Non return / Safety relief valves