## Slide 1
10th – 12th November 2021
222
in Series
Course on
Metrology, Pressure, Thermal & Electro Technical Measurements and Calibration
Course Organised by: फ्लूइड कंट्रोल रिसर्च इंस्टिट्यूट FLUID CONTROL RESEARCH INSTITUTE (ISO 9001: 2015 प्रमाणित, एन ए बी एल मान्यता प्राप्त संगठन)
(ISO 9001: 2015 Certified, NABL accredited organisation)
(भारी उद्योग और सार्वजनिक उद्यम मंत्रालय, भारत सरकार)
(Ministry of Heavy Industries & Public Enterprises, Govt. of India)
कंजीकोडे पश्चिम, पालक्काड - 678 623, केरला
Kanjikode West, Palakkad – 678 623, Kerala.
Tel: +91-491-2566120, 2566206, 2566119, 2569010, Fax: +91-491-2566326

## Slide 2
FCRI, a state of the art flow and fluid engineering facility, first of its kind in South East Asia is dedicated to Research & Development in Fluid Flow Measurement & Control Techniques. About 100 sponsored Projects for various reputed organisations have been successfully completed by the Institute. The Institute provides facilities towards technological developments to the flow product industries and serves as a National Certifying Authority and Quality / reliability evaluation facility. The Institute also provides facility for calibration of mechanical, thermal, electrical parameters, noise, vibration etc. apart from testing and calibration, the Institute conducts National and International training programmes in the field of flow control, measurement & Instrumentation, Calibration and related areas.
About FCRI
Major Calibration and Test Facilities
Laboratory Fluid flow NABL C026/T027 |  |  | Maximum Flow Rate (m3/h) | Maximum Line Size | Uncertainty in Flow Rate (% reading) | Uncertainty in Volume (% reading) |  | 
Water Flow |  |  | 4500 15000 | 900mm 2000mm | Upto 200m³/h : ±0.05% 200 to 2500m³/h : ±0.10% 2500 to 4500 m³/h : ±0.15% 5000-15000m³/h : ±0.5% | 2 m3 - 20m3 : ± 0.05% |  | 
Air Flow At Ambient conditions |  |  | 10000 | 400mm | 0.016 m³/hr to 0.25m³/hr : ±0.3% 0.25 m³/hr to 40m³/hr : ±0.1% 0.7 m³/hr to 400m³/hr : ±0.15% > 400m³/hr 10000m3hr : ±0.25% | 0-0.5 m3 : ±0.1% 2 m3 : ±0.1% |  | 
Closed loop Air Test Facility (20 Bar) *Calibration Loop *Gravimetric Loop Velocity |  |  | 10- 400m3/h 4-1000kg/h | 150mm 50mm | ± 0.3% ± 0.1% |  |  | 
Oil Flow |  |  | 650 | 250mm | 0-100m3/hr : ± 0.05% 100-600m3/hr : ± 0.075% | Upto 1.8m³ : ± 0.03% 1.8m³ to 9 m³ : ± 0.04% |  | 
Compressed Natural Gas |  |  | 4500 Kg/hr | 1.5” | ± 0.1%* | *under-Accreditation |  | 
Mechanical Calibration Metrological, Pressure, Noise, Vibration etc. NABL C 056 | Parameters |  | Range | Calibration & Measurement Capability | Parameters | Range | Calibration & Measurement Capability | 
 | MASS-Standards Weights |  | 1mg and upto 500kg | 0.0048 mg to 1.2g | PRESSURE pressure transducers | 1 to 60bar 60 – 1200bar | 0.04% of rdg 0.026% of rdg | 
 | MASS-Weighing Balance & Mass Comparator |  | Various ranges from 0-2 g to 600 Kg | 0.005mg to 0.05 Kg | Pressure-gauge pressure transducers (pneumatic) | 30mbr to 2000 mbar abs | 0.02% of rdg | 
 |  |  |  |  |  | 0.25 bar to 20 bar abs | 0.038% of rdg | 
 |  |  | 600 Kg to 2000 Kg | 0.1 Kg |  |  |  | 
 |  |  | 2000 Kg to 20000Kg | 3.53 Kg |  |  |  | 
 | VOLUME -Specific Gravity bottle, Pipettes, Burettes Measuring Flasks |  | 1 ml – 5000 ml | 0.05ml to 0.7ml | Pressure-Low pressure gauge & differential | 0.2 mbar to 10 mbar | 0.88% rdg | 
 |  |  |  |  |  | 10mbar to 160mbar | ± 0.077%of rdg | 
 | DENSITY - Hydrometers |  | 0.64 g/cc – 1.98 g/cc | ±0.0005 g/ml | Pressure-gauge pressure transducer (pneumatic) | 30 mbar to 2000 mbar | ± 0.02% of rdg | 
 | VISCOSITY | Dynamic | 1to 60000 mPas/cSt | ± - 1.0% rdg | Pressure-vacuum (gauge) | -100 to 980mbar g | ± 0.06 of rdg | 
 |  | Kinematic | 1to 60000 cSt | ± - 1.0% rdg | LENGTH- slip Gauges (steel) | 0.5 – 100 mm | 0.05 µm to 0.16µm | 
 | Acoustic Pressure – Free Field |  | 125 Hz to 20 Hz | ≤0.5 dB | Vibration Test Facility | 6000 Kgf / 2000Kgf shaker 5 Hz to 2000 Hz |  | 
 | Acoustic Pressure – Pressure Field |  | 94 & 114 dB @ 1 kHz 124 dB @ 250 Hz | 0.5dB | Acoustic Test Facility | Hemi Anechoic Chamber ISO3745 |  | 
 | Acoustic Power |  | 125Hz to 16 kHz | 2.0dB | Temperature & RH Test Facility | -70 to 180 deg C 10 to 98 % RH |  | 
 | Vibration Amplitude - Analyzer |  | 0.1 to 15g (acceleration) 1 to 240mm/s(velocity) 0.01 to 10mm(displacement) | 2.4 % |  |  |  | 
 | Vibration Amplitude –Sensor Linearity |  | 2Hz to 15 kHz Upto 30g pk | ≤2.5 % 1.25% |  | Dust – IP 5X, 6X |  | 
 | Speed (Contact) |  | 100 to 10000 rpm | 1.6 rpm | * IP Tests |  |  | 
 | Speed (Non-contact) |  | 60 to 100000 rpm | ≤2.4 rpm |  | Water – IP X3 to X8 |  | 
Electro Technical Calibration Electro Technical Calibration NABL C 0254 |  |  | ±100µV to ±1000 V ±0.1mV to ±1000V 1mV to 1000V 100mV to 1000V | 0.60% to 0.001% 0.12% to 0.012% 0.4% to 0.014% 0.04% to 0.03% | DC Current Source Measure AC Current Source Measure | ±100µA to ±1000A ±100µA to ±20A 100µA to 700A 100µA to 10A |  | 0.014% to 2.0% 0.013% to 0.05% 0.04% to 1% 0.06% to 0.035%
 | Resistance Source Measure |  | 10µΩ 10G Ω 100µΩ 1G Ω | 0.6% to 0.02% 0.42% to 0.5% |  |  |  | 
 | Time |  | 1 Sec – 5400 sec | 1.53 µSec to 5.4mSec | Frequency | 1 Hz to 1 GHz |  | 10mµHz to 1.2 Hz
Thermal Calibration NABL C 0255 | Temperature |  | -70 ºC to +1200 ºC | ±0.07ºC to 1.3ºC | Fixed Point Cells | -38.8344ºC to 961.78ºC |  | 2.9mºC to 19.7mºC
 | *Temperature & Humidity Chamber |  | - 70ºC to 180ºC 10% to 95% RH |  |  |  |  | 

## Slide 3
National and International trade depends on acceptable system of measurement standards for efficient operation. Recognizing critical role of metrology, the International Standards Organisation (ISO) has given it a due important place in the International Quality Standards – ISO 9000, 14000 & 18000 series by incorporating specific clauses on Calibration and Traceability. The course covers specification of laboratory reference equipments, testing and calibration techniques including documentation, traceability, uncertainty evaluation as required by ISO 17025/NABL 141 guidelines for accreditation of laboratories in different areas like Mechanical, thermal, Electro-technical etc.
About the Programme
Topics
Personnel with 2-3 years experience in Metrological or inspection sectors and quality groups from Engineering Industries, process control & instrumentation and other related areas can participate.
Target Group
Fees
Fees (Non Residential)
For Participants working in India :
Rs. 15,435/- + 18% GST Rs.2,778/- Total Rs. 18,213/- per participant
For Participants from abroad: US $ 908 + GST 18 % + Charge Us $ 20 = Total US $ 1,091/- per foreign participant.
we accept e-payment only
Bank Details : State Bank of India(SME Branch) Kanjikode west, Palakkad - 678 623
Account Name : Fluid Control Research Institute
Account No. : 10258760349 & IFSC Code : SBIN0006640
Please email GST identification number , invoice address and e-payment details to training@fcriindia.com
Basics of Measurement and Calibration
Dimensional metrology – Precision Measurement / calibration Techniques
Mass metrology (Mass, Density, Volume etc) and Calibration Techniques
Pressure Metrology and Calibration of Pressure measuring instruments
Thermometry and Calibration . Transducers, transmitters and calibration techniques
Laboratory Accreditation as per NABL Norms . Traceability and inter – comparison Campaigns
Traceability and inter-comparison campaigns
Quality Standards and relevance of calibration
Assessment of uncertainty of Measurements for Laboratory Environs
Uncertainty Estimation – Case studies
General Information
Venue : FCRI, Kanjikode West, Palakkad
Course Timings : 9.30 a.m. to 5.30 p.m.
*10% Discounts for nominating 5 or more participants from same organisation

## Slide 4
Agency | Category
National Accreditation Board for Testing and Calibration Laboratories (NABL) | Calibration/Testing of Flow Products, Mechanical Measurements Thermal Calibration, Electro Technical Calibration
Netherlands Measurement Institute (NMI) | CLATF (20 Bar, 400 m3/h) of FCRI complies with the criteria for Calibration Laboratories as per ISO/IEC 17025
Department of Science & Technology | Recognized R&D Institute
Department of Weights & Measures (Ministry of Civil Supplies) | Model Approval tests on flowmeter for custody transfer of oil/gas as per OIML Standard
Chief Controller of Explosives, Nagpur | Testing of Safety Relief Valves
Bureau of Indian Standards | Testing of Water Meters, Anemometers etc.
Institution of Fire Engineers, New Delhi | Hydraulic Qualification tests on fire fighting equipments
Central Pollution Control Board | Certification of Petrol, Kerosene & Diesel Generators for type approval
Nuclear Power Corporation | Seismic Studies for Power plant Equipments
Ministry of External Affairs (ITEC) & Ministry of Finance, Dept. of Economic Affairs (Colombo Plan) | Training programmes for Foreign Nationals on Flow Measurement and Instrumentation for Oil Gas & Water utilities/industries
GCAS Quality Certification Pvt. Ltd., | ISO 9001:2008 Certification in Calibration & testing of fluid flow component, calibration of mechanical, electro technical, thermal instruments, flow calibration & measurements at site, project consultancy & implementation, professional training.
Recognition of FCRI
Control Valves/Actuators | Cv, FL, Seat leakage test, Fugitive emission, cryogenic testing, torque
Water Meters | All test as per IS6784, IS779,IS2373, IS04064
Butterfly Valves & Actuators | POD tests as per AWWA C504 & C540
Venting devices/air valves | API 2000
Safety Relief Valves | ASME PTC 25
Gas Turbine Meters | OIMLR137-1 Model Approval
Gas Regulators | BS EN 334
Diaphragm Gas meters | BS EN 1359 Model Approval
Liquid Flow Meters | As per relevant standards
NABL Approved Test Facilities
Other Test
Life Cycle Tests & Cavitation Tests for valves
For further information & Registration, please contact:
The Head Training,
Fluid Control Research Institute
Kanjikode West, Palakkad-678623, Kerala, India
Telephone: 0491-2566206, 2566120,
Fax: 0491-2566326
Email: training@fcriindia.com
Website: www.fcriindia.com
Registration
Registration for the training program can be confirmed by sending the details: Name, Designation, Organisation, Postal Address Email/Phone/Fax/Post to the address given below. The course fee is to be remitted in advance through e payment only. The registration must be completed on or before 1st Nov 2021.