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	FLUID CONTROL RESEARCH INSTITUTE

(Under Ministry of Heavy Industries, Govt. of India)

Kanjikode West, Palakkad – 678 623, Kerala 

Phone: 0491-2566120/2566206/2569009/2569135, Fax: 0491-2566326     

Email: purchase@fcriindia.com, Website: www.fcriindia.

                TENDER NOTICE 



	Ref: PUR/FCRI/VES-ELECTRIFICATION/26046/2026-27                                                               Date:21-07-2026
Sealed competitive quotations in two bid system are invited from reputed, financially and technically capable ‘A’ Class Electrical Contractors for the proposed Electrification Project as mentioned below : 
Sl. No
Tender No.
Name of work 
Approximate cost (PAC)
(Rs.) 
Bid Security EMD (Rs.)
Tender Fee (Rs.)
Time of completion
1

PUR/FCRI/VES - ELECTRIFICATION/26046/ 2026-27
Electrification of  VES Test Facility at FCRI 
45,00,000/- (Including GST)
40,000/-
472/-
including GST@18%
(By NEFT / RTGS)
45 Days 
from issue of Work Order 
Date, Time & Place of issue of Tender Document: From 24-07-2026 to 07-08-2026 on any working day (Monday to Friday) from Logistics Department, FCRI. The Tender Document can be downloaded from the Website: www.fcriindia.com/tender/ also. 
Last date for submission of Tender: 5.00 PM on 07-08-2026.

FCRI reserves the right to reject any or all the tenders without assigning any reason thereof.        

Note: 
Corrigendum/Amendment, if any would be hosted on the Institute website Tender page only. Hence prospective applicants are advised to visit FCRI website regularly for above purpose.

 Sd/-    DIRECTOR


SECTION – I 
1. MINIMUM / BASIC CRITERIA FOR QUALIFICATION

1.1 EXPERIENCE
a) Particular Electrification Experience - The applicant should have Successfully completed or substantially completed similar works (Industrial Electrification) during last three years ending 31st March 2026 and should be either of the following: -

i) Three similar completed works costing not less than the amount equal to 40(forty) percent of the estimated cost; or

ii) Two similar completed works costing not less than the amount equal to 50 (fifty) percent of the estimated cost; or

iii) One similar completed work costing not less than the amount equal to 80 (eighty) percent of the estimated cost; and

Relevant documents in proof of the above should mandatorily be submitted along with the Unpriced Bid. 

b) Average Annual Financial Turnover of the bidders during the last three years ending 31st March 2025 should be at least 30% of the estimated cost as certified by Charted Accountant.

c) Bidders should have valid ‘A’ grade license from Kerala State Electricity Licensing Board and copy of the same should be attached along with the unpriced bid.  

2. GENERAL INFORMATION: 
i) The Interested Firms / Contractors may forward their quotation in the prescribed Tender Document with all annexures which may be obtained from the Logistics Department from 24/07/2026 to 07/08/2026 on any working day (Monday to Friday) from 9.30 am to 5 pm by paying Tender Fee. Alternatively, the Tender Document can also be downloaded from FCRI website www.fcriindia.com/tender/
ii) The last date of Submission of Tender is 5.00 PM on 07-08-2026. 

iii) The un-priced bids will be opened and evaluated by FCRI authorities. The priced bids will be opened at FCRI in presence of the qualified tenderers or a single authorized representative of the tenderers. The exact date of opening will be informed later.

iv) For any Clarification the bidders may contact the Logistics Department on any working day from 9.00 am to 5.30 pm.

v) Bidders may visit the site at FCRI before submission of quotation on any working day (Monday to Friday) between 9.30 AM to 5.00 PM with prior appointment. 

vi) Director, FCRI will have the discretion to reject any or all of the tenders (technical/financial bids) on behalf of the FCRI without assigning any reasons thereof.

vii) Bidder shall positively submit all filled up forms duly signed & stamped, along with all requested documents. 

K. Suresh

Head - Logistics
SECTION – II

INSTRUCTIONS FOR FILLING AND SUBMISSION OF TENDER DOCUMENT
The following three documents constitute the complete tender specifications

· Volume I of III – Qualification Criteria, Technical Tender Specification, unpriced schedule of quantities, etc.  

· Volume II of III –Special conditions of contract & General rules and directions for guidance of Contractors & General conditions of Contract.   
· Volume III of III – Price Schedule 

The Tender Document shall be completely filled in all respects. The tender fee Rs. 472/- (Rupees one thousand one hundred and eighteen only including GST - non-refundable) and EMD Rs. 40,000/- (Rupees fourty thousand only) must be paid by way of NEFT/RTGS in favour of “Fluid Control Research Institute”. The EMD can be submitted by Bank Guarantee also in INR in FCRI format from a Public Sector Bank. The due date for submission of the tender is 5.00 PM on 07/08/2026. 
1. Contractors to note that all particulars required as per the form shall be filled in completely strictly as per the format.
2. The forms not submitted strictly as per the above instructions within stipulated period are liable to be rejected. 
3. Full signature & seal are required on all pages in the tender document. 
4.    Please note that no enquiries or correspondence regarding the selection process shall be entertained.
5.    The Contractors are advised to follow the instructions given below:
(a) The tender document and shall be filled-up in clean handwriting in capital   letters or typed.
(b) The   agencies   should   ensure   to   submit   the   satisfactory Completion      Certificate giving  the  value  of  work,  year  of  completion  and  it  should  also tally with the value of final bill in Proforma - B.
(c) The  annual  turnover  should  be  based  audited  balance sheet, copy of which should be enclosed.
The tender should be submitted in two (2) parts in separate sealed envelopes superscribing the tender reference, name of work, due date and nature of bid (priced or unpriced) as given below: 
Part I – The Unpriced Bid

a) Tender documents – Volume I of III & Volume II of III duly completed, signed & sealed on all pages along with all technical and commercial details.

b) List of deviations / modifications or variations, if any, to the specifications and terms & conditions.
c) An affidavit stating, “None of the supply/works carried out by me were not cancelled owing to my fault”.

d) All necessary items mentioned in Volume I & Volume II. 
e) Details of EMD paid by way of RTGS/NEFT in favour of Fluid Control Research Institute, payable at Palakkad or Bank Guarantee in INR issued by a Public Sector Bank in FCRI format.

f) Tender fee by way of RTGS/NEFT in favour of Fluid Control Research Institute. 

Part II – The priced bid

Volume III of III – one set of the schedule of quantities and rates duly signed & sealed on all pages

Note: The Tender fee and EMD should be submitted by RTGS/NEFT before submission of quotation, the receipt of RTGS/NEFT should be attached along with the technical bid. If the EMD is by Bank Guarantee, the same should be attached along with the technical bid.

K. Suresh

                                     Head - Logistics

FORM FOR QUALIFYING THE CONTRACTORS
	Sl.No
	QUERY
	ANSWER

	1.
	Name of the firm


	

	2.
	Address


	

	3.
	PAN No
	

	
	GST Registration No
	

	4.
	Telephone Numbers                            Office                                                                    

                                               Residence

                                      Fax  

                                                                       Mobile Numbers                           
	

	
	
	

	
	
	

	
	
	

	5.
	Email  address
	

	6.
	Month and year in which the firm was established in the present name


	

	7.
	Particulars of sister construction firms, if any


	

	8


	i) What is the constitution of firm viz. Sole Proprietor, Partnership, Pvt.Ltd., Public Ltd., etc.

ii) Enclose copy of partnership deed,

      Articles of association or Affidavit in

Case of sole proprietorship as per   Proforma    A-1

iii) Fill in enclosed Proforma A-2


	

	9
	a) Details of Earlier work done at FCRI, if any

            (Attach copies of documentary evidence)
b) I confirm I have enclosed documentary evidence:  

	YES / NO

	10.
	Has the applicant or his partners or Directors been black listed in the past by any Central or State Govt. Dept ./ Organization
	YES / NO

	11.
	i) Annual Turnover for Last THREE Years

(enclose documentary evidence or proof to support figures)

ii) What evidence of proof is enclosed to support the amounts of yearly turnover  

iii) Copy of Latest IT Return Submitted
                   
	     Year               Rs. In Lakhs

i) 2024-25
ii) 2023-24
iii) 2022-23
Assessment year   
Attached / Not Attached


	12
	i) Name and complete postal
     address of Bankers, IFSC Code 
ii)  Bank Guarantee limit with various Banks


	i) Rs.                   Lakh with 

ii) Rs.                   Lakh with 


Total Rs.



	13
	Whether filled in & enclosed Proforma – B giving full particulars about major works completed during past 5 years ?

	YES / NO

	14
	Work in Progress:
i)   Whether full details of major work on hand given in Proforma – C?
ii)   Whether copies of work orders for such large works are enclosed ?
	i) YES / NO

ii) YES / NO

	15
	Whether full information regarding permanent technical staff employed given in Proforma – D is provided ?

	YES / NO

	16
	Any other information the applicant might like to give


	(Enclose additional sheets if needed)


DECLARATION
I/We  agree  to  notify  the  Officer  accepting  this  application  and  registering  my/our names on list of contractors of Fluid control Research Institute, of any changes in the foregoing particulars as and when they occur. 
I/We understand and agree that Fluid Control Research Institute Authority has the right as they may decide, not to issue tender form in any particular case and also to suspend, remove or blacklist my/our name from Fluid Control Research Institute list of contractors in the event of my/our submitting non-bonafide tenders or for technical or other delinquency in regard to which the decision of Fluid Control Research Institute shall be final and conclusive.
I/We certify that the particulars furnished in the Tender Document are correct and that should it be found that I/We have given a false certificate or that if I/We fail to notify the fact of  my/our  subsequent  amalgamation  with  another  contractor  or  firm,  Fluid Control Research Institute  may remove my/our name from the list of contractors and any contract that I/We may be holding at the time may be rescinded.
Place:
Date:
SIGNATURE OF CONTRACTOR
 FOR OFFICE USE ONLY 
TENDER DOCUMENT NO.  
 ISSUED TO
NOTE: 
THE FILLED IN TENDER DOCUMENT SHOULD REACH FCRI ON OR BEFORE 5.00 PM on 07-08-2026.
SIGNATURE OF ISSUING OFFICER
PROFORMA - A1

A F F I D A V I T
(To be typed on Non Judicial Stamp paper of Rs.100/- in case the individual who is the sole proprietor of the firm)
I …………………………………………………………………………………………………. s/o ………………………………………………… age …………….. years, occupation business
r/o …………………………………………………… do hereby state on oath as under:
That I am residing in ………………………………………………………  locality  

of District …………………………………… since last ……………….. years.
That   I   am   the   sole   proprietor   of   a   proprietary   concern   name   and   

style   as“……………………………………………………..”  having  it’s  office  at  

………………………… District  ………………………….  dealing  in  business  of  

Government, Civil Contracts and ancillary works attached therefore.
Hence this affidavit
Deponent
PROFORMA – A2
CONSTITUTION OF FIRM – SOLE PROPRIETORSHIP/PARTNERSHIP/LTD.CO/OTHER 

DETAILS OF CONSTITUTENTS
	Sl. No. 
	Name of sole partner
	Age
	Share
	Year to Year
 
	Experience
	Remarks
 

	 
	 
	 
	 
	
	As Employee
	As contractor
	

	1
	2
	3
	4
	5
	6
	7
	8

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 


SIGNATURE OF CONTRACTOR
PROFORMA - B
LIST OF MAJOR WORKS COMPLETED DURING LAST FIVE YEARS
	Sr. No.
	Name and Complete Postal
Address of
	Order
	Value of work as per final bill (Rs. in Lac)
	Commence- ment of work month Year
	Comple- tion of work month Year
	Penalty levied for delay of completion, if any

	
	Site of Work & Nature of Work
	Owner
	Authority under whom work was carried out
	Ref. No. & Date
	Contract
Amount
(Rs. in Lac)
	Is copy enclosed
	
	
	
	

	(1)
	(2)
	(3)
	(4)
	(5)
	(6)
	(7)
	(8)
	(9)
	(10)
	(11)

	
	
	
	
	
	
	
	
	
	
	


SIGNATURE OF CONTRACTOR
PROFORMA - C
LIST OF WORK IN HAND
	Sr. No.
	Name and Complete Postal Address of
	Order
	Date of commence- ment of work
	Scheduled date of completion of work
	Progress made and expected
date of
completion and reasons for delay, if any

	
	Site of Work
& Nature of
Work
	Owner
	Authority under whom work was carried out
	Ref. No. & Date
	Amount
(Rs. in
Lac)
	Is copy enclosed
	
	
	

	(1)
	(2)
	(3)
	(4)
	(5)
	(6)
	(7)
	(8)
	(9)
	(10)

	
	
	
	
	
	
	
	
	
	


SIGNATURE OF CONTRACTOR
PROFORMA - D
PARTICULARS OF PERMANENT TECHNICAL STAFF
	Sr. No.
	Name
	Designation
	Age
	Academic
Qualification
	Service with the Firm
	Details of Experience Year to Year

	(1)
	(2)
	(3)
	(4)
	(5)
	(6)
	(7)

	
	
	
	
	
	
	


SIGNATURE OF CONTRACTOR
Technical Deviations
1. Deviation 

  List of deviations from requisition/specifications/standards/drawings.

	Sl. No
	Documents
	Deviation 



	
	No. Title 
	Clause 
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


2. No Deviation is required

Place :                                                                               Name & Designation 

Date : 

                                                                                         Authorized  Signature 

                                                             Office Seal 

CHECK LIST

Please fill up the below Check list to ensure submission of the requisite documents. 
	Sl. No.
	Description 

	Response
Yes/No

	1
	Documentary evidence for Section – I, Sl. No. 1.1 a) – Particular experience 


	

	2
	Documentary evidence for Section – I, Sl. No. 1.1 b) – CA Certificate for average Annual Financial Turnover

	

	3
	Documentary evidence for Section – I, Sl. No. 1.1 c) – Copy of ‘A’ Grade license from Kerala State Electricity Licensing Board

	

	3
	Form for Qualifying the Contractors (duly filled up in all columns)

	

	4
	All the requisite supporting documents mentioned in the Form for Qualifying the Contractors.  

	

	5
	Proforma – A1

	

	6
	Proforma – A2

	

	7
	Proforma – B


	

	8
	Proforma – C

	

	9
	Proforma – D

	

	10
	Technical deviations, if any has been filled up in the Technical deviation sheet

	


                                                                                           Name & Désignation 

Place : 

                                                                                            Authorised Signature 

Date : 

                                                       Office Seal 

INTEGRITY PACT DECLARATION

(To be provided on the letterhead of the firm)

To

The Director,

Fluid Control Research Institute, 
Kanjikode West, 
Palakkad  – 678 623
Sub: 
Procurement of works: Electrification of VES Test Facility at FCRI. 
Sir, 



I/We acknowledge that the Fluid Control Research Institute, Palakkad is committed to follow the principles thereof as enumerated in the Integrity Agreement enclosed with the tender/bid document.


I/We agree that the Notice Inviting Tender (NIT) is an invitation to offer made on the condition that I/We will sign the enclosed integrity Agreement, which is an integral part of tender documents, failing which I/We will stand disqualified from the tendering process. I/We acknowledge that THE MAKING OF THE BID SHALL BE REGARDED AS AN UNCONDITIONAL AND ABSOLUTE ACCEPTANCE of this condition of the NIT.


I/We confirm acceptance and compliance with the Integrity Agreement in letter and spirit and further agree that execution of the said Integrity Agreement shall be separate and distinct from the main contract, which will come into existence when tender/bid is finally accepted by the Fluid Control Research Institute, Palakkad.  I/We acknowledge and accept the duration of the Integrity Agreement, which shall be in line with Article 1 of the enclosed Integrity Agreement.


I/We acknowledge that in the event of my/our failure to sign and accept the Integrity Agreement while submitting the tender/bid, the Fluid Control Research Institute, Palakkad shall have the unqualified, absolute, and unfettered right to disqualify the tenderer/bidder and reject the tender/bid is accordance with terms and conditions of the tender/ bid.

Date:








Authorized Signatory


Place:








Name: 





Seal of the bidder


Designation:











Contact No:

INTEGRITY PACT

This INTEGRITY PACT is made and executed at............ on this day of..........., 2026. 

BETWEEN

The Fluid Control Research Institute, Palakkad is an autonomous body of the Department of Heavy Industry, Ministry of Heavy Industries, Govt. of India having its office located at Kanjikode, West, Palakkad District, Kerala - 678623 (hereinafter referred to as “FCRI” which terms or expression shall, unless excluded by or repugnant to the subject or context, mean and include its successor-in-office, administrators or permitted assignees) of the First Part;

And

M/s........................................................... a company incorporated under the Companies Act,........... through its representative/authorized signatory (insert name and designation of the officer) vide resolution dated ............... passed by the Board of Directors, having its office at ...................................(hereinafter referred to as “The Bidder/Contractor” which term or expression shall, unless excluded by or repugnant to the subject or context, mean and include its successor-in-office, administrators or permitted assignees) of the Second Part.

Preamble 

The FCRI intends to award, under the laid-down organizational procedures, contract/s for Procurement of works: Electrification of VES Test Facility at FCRI. The FCRI values full compliance with all relevant laws of the land, rules, regulations, economic use of resources and of fairness / transparency in its relations with its Bidders) and / or Contractor(s). 

In order to achieve these goals, the FCRI will appoint Independent External Monitors (IEMs) who will monitor the tender process and the execution of the contract for compliance with the principles mentioned above.

Section 1 - Commitments of the FCRI
1. The FCRI commits itself to take all measures necessary to prevent corruption and to observe the following principles:

a. No employee of the FCRI, personally or through family members, will in connection with the tender for, or the execution of a contract, demand, take a promise for or accept, for self or third person, any material or immaterial benefit which the person is not legally entitled to.

b. The FCRI will, during the tender process treat all Bidder(s) with equity and reason. The FCRI will in particular, before and during the tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution. 

c. The FCRI will exclude from the process all known prejudiced persons.

2. If the FCRI obtains information on the conduct of any of its employees which is a criminal offence under the IPC/PC Act, or if there is a substantive suspicion in this regard, the FCRI will inform the Chief Vigilance Officer and in addition, can initiate disciplinary actions.

Section 2 - Commitments of the Bidder(s)/ Contractor(s)

1. The Bidder(s)/ Contractor(s) commit themselves to take all measures necessary to prevent corruption. The Bidder(s)/ Contractor(s) commit themselves to observe the following principles during participation in the tender process and during the contract execution. 

a. The Bidder(s)/ Contractor(s) will not, directly or through any other person or firm, offer, promise or give to any of the FCRI’s employees involved in the tender process or the execution of the contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange any advantage of any kind whatsoever during the tender process or during the execution of the contract. 

b. The Bidders(s)/ Contractor(s) will not enter with other Bidders into any undisclosed agreement or understanding, whether formal or informal. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or any other actions to restrict competitiveness or to introduce cartelization in the bidding process. 

c. The Bidder(s)/ Contractor(s) will not commit any offense under the relevant IPC/PC Act; further the Bidders(s)/ Contractor(s) will not use improperly, for purposes of competition or personal gain, or pass on to others, any information or document provided by the FCRI as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically. 

d. The Bidder(s)/ Contractors(s) of foreign origin shall disclose the name and address of the Agents/representatives in India, if any. Similarly, the Bidder(s)/Contractors(s) of Indian Nationality shall furnish the name and address of the foreign principals, if any. Further details as mentioned in the “Guidelines on Indian Agents of Foreign Suppliers” shall be disclosed by the Bidder(s)/Contractor(s). Further, as mentioned in the Guidelines all the payments made to the Indian agent/representative have to be in Indian Rupees only.

e. The Bidder(s)/ Contractor(s) will, when presenting their bid, disclose any and all payments made, is committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract. 

f.        Bidder(s) /Contractor(s) who have signed the Integrity Pact shall not approach the Courts while representing the matter to IEMs and shall wait for their decision in the matter. 

2. The Bidders)/ Contractors) will not instigate third persons to commit offences outlined above or be an accessory to such offences.

Section 3 - Disqualification from tender process and exclusion from future contracts 

If the Bidder(s)/Contractor(s), before award or during execution has committed a transgression through a violation of Section 2, above or in any other form such as to put their reliability or credibility in question, the FCRI is entitled to disqualify the Bidder(s)/Contractor(s) from the tender process or take action as per the procedure mentioned in the “Guidelines on Banning of business dealings.

Section 4 - Compensation for Damages

1. If the FCRI has disqualified the Bidder(s) from the tender process prior to the award, according to Section 3, the FCRI is entitled to demand and recover the damages equivalent to Earnest Money Deposit/Bid Security.

2. If the FCRI has terminated the contract according to Section 3, or if the FCRI is entitled to terminate the contract according to Section 3, the FCRI shall be entitled to demand and recover from the Contractor liquidated damages of the Contract value or the amount equivalent to Performance Bank Guarantee.

Section 5 - Previous transgression 

1. The Bidder declares that no previous transgressions occurred in the last three years with any other Company in any country conforming to the anti-corruption approach or with any Public Sector Enterprise in India that could justify his exclusion from the tender process.

2. If the Bidder makes incorrect statement on this subject, he can be disqualified from the tender process or action can be taken as per the procedure mentioned in “Guidelines on Banning of business dealings”.

Section 6 - Equal treatment of all Bidders / Contractors / Subcontractors

1. In the case of Sub-contracting, the Principal Contractor shall take the responsibility for the adoption of the Integrity Pact by the Sub-contractor. 

2. The FCRI will enter into agreements with identical conditions as this one with all Bidders and Contractors. 

3. The FCRI will disqualify from the tender process all bidders who do not sign this Pact or violate this provisions.

Section 7 - Criminal charges against violating Bidder(s) / Contractors) / Subcontractor(s)

If the FCRI obtains knowledge of conduct of a Bidder, Contractor or Subcontractor, or of an employee or a representative or an associate of a Bidder, Contractor or Subcontractor which constitutes corruption, or if the FCRI has substantive suspicion in this regard, the FCRI will inform the same to the Chief Vigilance Officer.

Section 8 - Independent External Monitor

1. The FCRI appoints a competent and credible Independent External Monitor for this Pact after approval by Central Vigilance Commission. The task of the Monitor is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement. 

2. The Monitor is not subject to instructions by the representatives of the parties and performs his/her functions neutrally and independently. The Monitor would have access to all Contract documents, whenever required. It will be obligatory for him/her to treat the information and documents of the Bidders/Contractors as confidential. He/she reports to the competent authority. 
3. The Bidder(s)/Contractor(s) accepts that the Monitor has the right to access without restriction to all Project documentation of the FCRI including that provided by the Contractor. The Contractor will also grant the Monitor, upon his/her request and demonstration of a valid interest, unrestricted and unconditional access to their project documentation. The same is applicable to Sub-contractors.

4. The Monitor is under contractual obligation to treat the information and documents of the Bidders)/ Contractor(s)/ Sub-contractor(s) with confidentiality. The Monitor has also signed declarations on ‘Non-Disclosure of Confidential Information and of ‘Absence of Conflict of Interest’. In case of any conflict of interest arising at a later date, the IEM shall inform the competent authority. 
5. The FCRI will provide to the Monitor sufficient information about all meetings among the parties related to the Project provided such meetings could have an impact on the contractual relations between the FCRI and the Contractor. The parties offer to the Monitor the option to participate in such meetings. 

6. As soon as the Monitor notices, or believes to notice, a violation of this agreement, he/she will so inform the Management of the FCRI and request the Management to discontinue or take corrective action, or to take other relevant action. The monitor can in this regard submit non-binding recommendations. Beyond this, the Monitor has no right to demand from the parties that they act in a specific manner, refrain from action or tolerate action.


7. The Monitor will submit a written report to the competent authority within 8 to 10 weeks from the date of reference or intimation to him by the FCRI and, should the occasion arise, submit proposals for correcting problematic situations. 

8. If the Monitor has reported to the competent authority, a substantiated suspicion of an offence under relevant I PC/ PC Act, and the competent authority has not, within the reasonable time taken visible action to proceed against such offence or reported it to the Chief Vigilance Officer, the Monitor may also transmit this information directly to the Central Vigilance Commissioner. 

9. The word ‘Monitor’ would include both singular and plural.

Section 9 - Pact Duration 

This Pact begins when both parties have legally signed it. It expires for the Contractor 12 months after the last payment under the contract, and for all other Bidders 6 months after the contract has been awarded. Any violation of the same would entail disqualification of the bidders and exclusion from future business dealing. 

If any claim is made / lodged during this time, the same shall be binding and continue to be valid despite the lapse of this pact as specified above, unless it is discharged / determined by the competent authority.

Section 10 - Other provisions

1. This agreement is subject to Indian Law. The place of performance and jurisdiction is the Office of the FCRI, i.e. Palakkad.
2. Changes and supplements as well as termination notices need to be made in writing. Side agreements have not been made. 

3. If the Contractor is a partnership or a consortium, this agreement must be signed by all partners or consortium members.

4. Should one or several provisions of this Pact turn out to be invalid, the remainder of this Pact remains valid. In this case, the parties will strive to come to an agreement with their original intentions. 

5. Issues like Warranty / Guarantee etc. shall be outside the purview of IEMs. 

6. In the event of any contradiction between the Integrity Pact and its Annexure, the Clause in the Integrity Pact will prevail. 

7. The actions stipulated in this Integrity Pact are without prejudice to any other legal action(s) that may follow in accordance with the provisions of the extant law in force relating to any civil or criminal proceedings.

IN WITNESS WHEREOF, the parties hereunto set their hands and seals and executed this INTEGRITY PACT as of the day/month/year first above written:

For and on behalf of 
THE DIRECTOR, 

Fluid Control Research Institute (First Party) 

SIGNED, SEALED, AND DELIVERED by 

Name: ................................................. 

Designation:.......................................

Address:.............................................

Authorized Signatory

For and on behalf of 

M/s............................................(Second Party)

SIGNED, SEALED AND DELIVERED by

 Name____________________________

 Designation:.................................................................

 Address:.......................................................................... 

Representative/authorized signatory

Vide resolution dated.................... passed by the Board of Directors 

In the presence of Witness: 

1.

2.
General Information to Tenderers

Name of the Institution

:  M/s. Fluid Control Research Institute, Kanjikode West, Palakkad
Name                                       : Electrification of VES Test Facility at FCRI
Tender reference                      :  PUR/FCRI/VES-ELECTRIFICATION/26046/2026-27 Rev.2
                                                                                        

Cost of Tender Form

:  Rs.472.00 (Including GST)
EMD (Rs)


:  Rs.40,000.00
Due date for submission

:  5.00 PM on 07/08/2026
Signature of the tenderer
: 

Name



:

Designation


:

Address



:

Date



:

Place



: 
TENDER  FORM

I / We hereby tender for the execution for Electrification of VES Test Facility at FCRI specified in the underwritten memorandum within the time specified in such memorandum at item rate entered in the schedule of quantities and in accordance in all respects with the specifications, designs and instructions in writing referred to in tender documents.

MEMORANDUM

a) General description                                     :    
As per tender documents
b) Estimate cost 



   :      
Rs. 45.00 Lakhs 
b) Earnest money                                            :   
Rs.40,000/-
c) Time allowed for the work from the date 

    of issue of Work Order

               :    
45 days
Should this tender be accepted, I / We hereby agree to abide by and fulfill all the terms and provisions of the General and Special Conditions of contract so far as possible, or in default thereof to forfeit and pay to the Institute or its successors in office. The sum of 

Rs.…………………………………….…………………………………………………………………………………………………………………………………………  paid as earnest money is to be absolutely forfeited to the said Institute or its successors in office, without prejudice to any other rights or remedies of the said Institute or its successors in office, should I /We fail to satisfy the provisions contained in the relevant paragraphs of the tender forms.

DATED:


SIGNATURE & ADDRESS OF CONTRACTOR

Schedule  of  Quantities 
Name  of  Work : ELECTRIFICATION OF VES TEST FACILITY AT FCRI.
	Sl.No


	Description


	Unit


	Qty



	A )
	MAIN POWER PANELS AND CABLING
	 
	 

	1
	Supply and installation of floor mounting type dust and vermin proof cubicle type free standing, (Double walled) 415 V , 3phase, 4 Pole MDO,ACB 3 panel set with adequate metal thickness for load bearing and non -load bearing parts &  with the following details                                                                                                                                                                  1) INCOMER: 1000 A, 35 MVA, ACB with built in Under Voltage, 3 Over current and Earth fault releases, low set earth fault relay 51 G(5A), Shunt trip coil 240v, DG ON, LOAD ON indications, Volt meter  and frequency meter at incoming side and Ammeter and Energy meter at out going side, control fuse etc.                                                                                                                                               2)  Nos of of outgoing ACB Panels with 1000 A, 50kA ACB, built in 3 over  current and earth fault releases, castell key inter locked between 2 out going panels.                                                                                             3) Aluminium inter connecting bus bar of size 2 X 50 X 12.5 for phase and 1X 50x 12.5 mm for neutral.

	Set
	1

	2
	Disconnecting after removal of glands 3.5 X 400 sq.mm cable terminations of existing connection in existing DG outgoing panel& reconnecting to new panel with glanding etc.

	Ends
	4

	3
	Dismantling and moving the existing outgoing ACB panel of DG set from the existing position to specified location.
	Nos
	1

	4
	Fabrication , supply and erection of NEW SB for VES project , self standing, dust and vermin proof indoor panel with 1 No. 800A TPN isolator as incomer  4 Nos of 400A TPN SFU  and 3 nos of 100A SFU as outgoing , Aluminium bus bar 2x50x10 mm for phase and 1x50x10mm for neutral with indication lamps.and voltmeter with selector switch (As per approved drawing of Kerala Electrical Inspectorate) with 2 nos. of cubicle suitable for 100 A & 400 A SFU and panel earthing using 25 X 3 copper flat.

	No.
	1

	5
	Supply laying in existing trenches 1.1 kV grade,3.5 X 400 sqmm A2XFY cables from DG set to VES panel , clamping wherever required
 
	Mtr
	300

	6
	Glanding and end termination of following types of cables including double compression type brass glands and copper/ aluminium socket as required with gland earthing.
	 
	 

	6(a)
	3.5 c *400 sqmm gland with aluminium socket

	ends
	6

	B )
	SUPPLY TO CRANE AND POWER PLUGS
	 
	 

	7
	Supply and laying in along trenches already excavated /existing cable trays 3.5 core , 1.1 kV grade XLPE insulated   50 sqmm armoured aluminium cable from existing P10 panel to VES SB1
	Mtr
	125

	8
	Double compression type brass gland fixing and end termination of 3.5core 50 sq.mm armoured AL. cable with gland earthing
	ends
	2

	9
	Supply and fixing of sub switch board with 125 TPN isolator as incomer and 4 nos of 100 A and 3 Nos. of  63A SFU as outgoing with 1 cubicles suitable for 63 A TPN SFU
	Each
	1

	10
	Supply and laying along existing cable tray or trenches of 1 run of 1.1 kV grade, 4core 16 sqmm  XLPEinsulated armoured aluminium cable from VES  SB1  to crane control panel
	Mtr
	15

	11
	Double compression type brassGland fixing and end termination of4 Core 16 sqmm. Cable with gland earthing.
	ends
	2

	12
	Supply and fixing of 12 way PDB with 40A 4 pole isolator with 100 mA RCCB, as incomer and 3 Nos. of 32A 3 pole MCB and 8 Nos. of 16 A single phase MCB And one number 25A single phase MCB as  outgoing including earthing using 10 swg copper conductor
	Each
	1

	13
	Supply and laying in along trenches already excavated , existing cable trays 4 core XLPE insulated 25 sq mm armoured aluminium cable from existingVES SB1 to PDB
	Mtr
	15

	14
	Gland fixing and end termination of 3.5 core 25 sq.mm armoured cable .
	ends
	2

	15
	Supply and fixing of 32A , 3 phase industrial type power polug with top with metallic box, MCB control and earthing with 10 SWG copper wire
	Each 
	3

	16
	Supply and fixing of 16A , 1 phase industrial type power olug with top with metallic box, MCB control and earthing with 10 SWG copper wire
	Each
	9

	17
	Circuit wiring through 25 mm PVC conduit (with ISI mark), from MCB DB using 3 runs of 4 sqmm PVC insulated flexible multi strand copper conductor with 10 SWG copper conductor for earthing and termination at both ends (for three phase industrial power plugs)
	Mtr
	50

	18
	Circuit wiring through PVCconduit, 20 mm dia, from MCB DB using 2 runs of 2.5 sqmm PVC insulated flexible multi strand copper conductor ,  with 10 SWG copper conductor for earthing and termination at both ends (for single phase industrial power plugs)
	Mtr
	200

	C )
	LIGHTING
	 
	 

	19
	Supply and fixing of 100A 4 Pole SFU in the existing panel P4 at substation
	Each
	1

	20
	Supply and fixing of LSB- VES with 40 A 4 pole isolator with 30 mA RCCB as incomer, 4 Nos of 32A 3 P MCB, 4 Nos of 25 A single phase MCB with earthing .
	Each
	1

	21
	Supply and fixing of UPS DB with 40A DP isolator with 30 mA RCCB as incomer, 12 Nos of 6A single phase MCB as outgoing with erathing
	Each
	1

	22
	Supply and laying in the already excavated trench XLPE armoured aluminium cable of size 4 Core, 16 sqmm cable 
	Mtr
	150

	23
	Double compression type brass Gland fixing and end termination of the 4 core 16sqmm cable and gland earthing
	Ends
	2

	24
	Supply and fixing of the  LDBs with 40A 4 Pole isolator and 30 mA RCCB as incomer and 6A 12way single pole MCB as outgoing including earthing using 10SWG copper conductor.
	Each
	3

	25
	Supply and laying of 4 Core 10 sqmm,1.1 kVgrade XLPE insulated armoured aluminium cable by clamping on walls or in the cable tray.
	Mtr
	50

	26
	Gland fixing and end termination of  4 Core 10 sqmm armoured aluminium cable including supply of double compression type cable gland and alumium sockets with gland earthing using 10 SWG copper wire 
	Ends
	6

	27
	Circuit wiring throughPVC conduit (with ISI mark), 25mm dia, from LDB using 3 runs of 2.5 sqmm PVC insulated flexible multi strand copper conductor 
	Mtr
	200

	28
	Circuit wiring through PVCconduit (with ISI mark), 25mm dia, from LDB using 5 runs of 2.5 sqmm PVC insulated flexible multi strand copper conductor 
	Mtr
	100

	29
	Providing light/ fan point (with electronic regulator)/exhaust fan point wiring using 1.5 sqmm PVC insulated muti strand copper conductor for phase and neutral and earth , surface mounted PVC conduit 20mm dia, modular switch, painted metallic box, modular plate, ceiling rose, accessories etc.(switch boards upto 4 switches and one  switch socket outlet)
	 
	 

	30 (A)
	Points upto 3m
	Each
	15

	30 (B)
	Points 3m - 6m
	Each
	10

	30 (c )
	Points beyond 6m
	Each
	10

	31
	Supply and fixing of 16A switch socket outlets on metallic boxes, modular switches and front plate, surface mounted
	Each point
	3

	32
	Supply and fixing of the following type of luminaries with suitable connectors/ ceiling rose etc and testing and commissioning.
	 
	 

	A ) 
	20W LED tube set
	Each
	15

	B )
	35W BLDC ceiling fan
	Each
	3

	C)
	HIGH BAY LED FITTINGS , 150W
	Each
	15

	( D) 
	Exhaust FanHeavy Duty , 450mm (or nearby) with mettalic blades
	Each
	4

	( E) 
	Out door wall mounted LED lights 50 W
	Each
	6

	F )
	40 W LED tube set
	Each
	10

	( G)
	Providing modular 6A switch socket outlet in painted metallic box of appropriate size, modular cover plate, all accessories and inter connections.
	Each
	10

	 D )
	EARTHING
	 
	 

	33
	Providing and fixing GI pipe earth electrode 50 mm Dis, 3.0 m long with excavation, filling with alternate layers of charcoal and salt, eart lead connector on top, chamber with CI cover complete as per IS 3043
	Each
	3

	34
	Supply and laying of 25 X 3 copper flat as earth bus inter connection with the earth pits, panel board earthing using , drilling holes tinning the ends and joints complete 
	Mtr
	250

	35
	Supply, abrication of Cable trays using MS Cable tray with suitable sizes of Angles, flats and applying 2 coats of black paint over a coat of primer after scrapping the surface
	Kg
	100

	36
	Supply and laying of 10 SWG bare copper conductor for earthing with providing tinned copper earth  bus using 25x3 mm copper flat with inter connections wherever necessary .
	Mtr
	90

	E )
	CABLE TRENCH EXCAVATION
	 
	 

	37
	Excavation and refilling cable trnch with a minimum depth of 100 cm , sand cushioning suitable for  2R of 50 mm2 cable and providing bricks on top of the cable for protection and refilling the excavated soil with cable route markers.
	Mtr
	150

	F )
	APPROVALS
	 
	 

	38
	Submission of completion report, AS FITTED drawing etc. the electrical inspectorate for final inspection (Scheme approval already obtained)
	L/s
	-

	39
	Remittance of statutory fees, scrutiny fee/ inspection fee etc. to Govt. Departments
	Actuals
	-


Note: 

1) The following information on the building is provided to enable the bidder to understand nature of building /scope of lighting and fitting layout & other needs.
“Work shall be carried out on a Pre Engineered Building (PEB). PEB is steel structure with roofing sheets on Z purlins resting on MS rafters, columns, side beam etc. Roof height is about 8Metres.”

2) The quantities mentioned above are indicative only. The bidder shall execute the work as per site conditions.
SPECIAL CONDITIONS

	 
	1)
	It is desirable that the bidders visit FCRI to understand the actual site conditions

	 
	2)
	The following Indian Standard shall be followed for thr major components of the work

	 
	A)
	XLPE insulated , 1.1 kV grade cables
	IS 7098

	 
	B)
	AIR CIRCUIT BREAKERS
	IS 60947

	 
	C)
	MCBs
	IS 60898

	 
	D) 
	Earthing
	IS 3043

	 
	E)
	All other materials / works shall conform to the latest version of relevant IS

	 
	3)
	All the materials shall be of standard make. Some of the popular makes are listed below

	 
	A)
	AIR CIRCUIT BREAKERS
	LK, SIEMENS, SCHNEIDER,C&S etc.

	 
	B)
	CABLES
	GLOSTER, KEI, HAVELLS, POLYCAB

	 
	C)
	Miniature Circuit Breakers
	Legrand, SCHNEIDER, ABB, ANCHOR etc.

	 
	D) 
	WIRES
	FINOLEX, POLYCAB, Havells, V GUARD etc.

	 
	E)
	MODULAR SWITHES & ACCESSRIES
	Crabtree, Legrand, Anchor, SCHNEIDER etc.

	 
	F)
	LED lights
	WIPRO, BAJAJ, CROMPTON, OSRAM etc.

	 
	4) 
	All the supply/ work shall be as per the standards of Deptt. Of Electrical Inspectorate, Kerala State.

	 
	5)
	All the panels shall be equipped with fuses of appropriate rating as per the approved drawing.
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General Terms & Conditions

1. The quantities specified in the schedule are approximate only and may vary. The successful bidder has to carry out the additional quantities of work, if any, at the same rates and the same terms & condition of contract. No escalation of rates is admissible.

2. The quoted rate should be inclusive of all materials, labour, scaffolding, welding, painting etc. complete charges wherever not otherwise specified.
3. The Specifications mentioned in the schedule of quantities are to be met with fully. The quality of the materials supplied by the contractor must be standard items and prior approval for all materials should be sought before it is being actually used.
4. The Contractors should have registered under GST and they should mention their GSTIN in the quotation.   

5. Income tax as per rules will be deducted from the bill. The quoted amount will be treated as the total amount inclusive of GST and Liability on account of GST and /or any other govt. taxes / levies that may arise on this contract shall be borne by the contractor in full and this must be reflected in the Invoice which is to be submitted after the completion of the work.
6. Terms of payment: The Contractor may submit Bill for items supplied/erected. Maximum number of Bill is restricted to 3 Nos. Payment will be made as follows based on the actual measurements and observation made at the site. Based on the verified Measurements total amount will be arrived at the quoted rates.

 (i)    
1st RA Bill - 60% of the Bill amount under subhead items ‘A’ & ‘B’  will be paid after completion of supply & labour.  
      (ii)  2nd RA Bill – 60% of the Bill amount under subhead items ‘C’, ‘D’ & ‘E’ 



will be paid in the second phase after completion of supply & labour.   

  (iii) 3rd & Final Bill – 30% of Sl. No. (i) & (ii) above + 90% of Bill amount 


under subhead item ‘F’ Sl. No. 38 will be paid after energization 


approval from Electrical Inspectorate.
(iv)    Remaining 10% of Sl. No. (i), (ii) & (iii) above will be kept as Security Deposit (Retension money) and will be paid after completion of  guarantee period / defect liability period for one year from the date of commissioning. 
7. Contractors are required to submit Invoice based on this arrived amount after completion of the bill from our side and Payment will be made only after our acceptance of this Invoice.

8. During the guarantee period / defect liability period, the Contractor is liable to undertake any repair/maintenance of the system which was undertaken. If the Contractor is failing to take up the repair works in time, in addition to the value of repair works all other losses incurred by the Company due to the inferior quality of the work will have to be borne by the Contractor and necessary deductions will be made from the deposit amount.
9. Contractor will have to submit the proof of Bank Account in the prescribed format which is available with us. The amount due will be transferred to this account after successful submission of Invoice & acceptance of the same.

10. The work will have to be started immediately on receipt of work order and the time of completion of the above work will be 45 days from the date of receipt of work order. Request for extension of time of completion will not be entertained in normal conditions and unauthorized delay will invite LD as per rules.
11. The quality of the skilled Labor provided by you must be very high.

12. The Institute reserves the right to reject any or all the tenders without assigning any reason thereof. 

                                                                                                 K. Suresh, CRE
                                                                                                 Head - Logistics
      Copy to :    Notice Board 
                       Copy to fabricators

GENERAL RULES AND DIRECTIONS FOR GUIDENCE OF CONTRACTORS

1.   Tenders shall be placed in sealed covers superscribing the tender number and name of the work tendered for and addressed legibly to the officer inviting the tender. Full name and address of the tenderer should be written on the envelope as well as on the tender below the signature. 

2.   The specified amount of tender fee & earnest money must be deposited by NEFT/RTGS in favour of “Fluid Control Research Institute” before submission of Tender. The payment details including UTR Number to be informed by email to ‘purchase@fcriindia.com’ after remittance of the same. The Bank details are given below. 

Name of the Bank


: 
State Bank of India (SME Branch)
V&V Apartment, Opp. ITI, Kanjikode West, 

Palakkad – 678 623

Bank Account No



10258760349
Type of Account


: 
Current

Bank Branch RTGS IFSC Code
: 
SBIN0006640

Bank Branch Code


:
06640

3.   The earnest money of the successful tenderer will be released once the Security Deposit equals or exceed the EMD amount. 
4.   Tenderers or their authorised representatives may present themselves at the time of opening the tenders.

5.   No single tender should include more than one work. Separate tender should be submitted for each work. 

6.   All the pages of the tender documents and any other enclosures submitted by the     tenderer must be properly signed or initialed and dated at the bottom right hand corner     of each page, and also signed and dated at the place mentioned in the documents by the tenderer of such person or persons on his behalf as are legally authorised or required to sign for the tenderer. The tenderer shall in particular, satisfy the Institute that he is competent and authorised to submit the tender and to enter into a legally binding contract with the company on behalf of himself, his firm, company or corporation as the case may be. A person signing the tender or any document forming part of the tender on behalf of another shall be deemed to warrant that he has the requisite authority of sign for such other, and if, on enquiry, it appears that the person so signing has no authority to do so. The Institute may without prejudice to any other civil and criminal remedies, cancel the contract and hold the signatory liable for all costs and damages.

7.   The schedule of quantities and rates should be carefully and properly filled in. All rates should be indicated in words as well as in figures. Erasures and alterations in the tender documents should be avoided. If any corrections are necessary, the original entry should be scored off and new entry legibly made duly attested by the full signature of the tenderer with date. Failure to do so may cause rejection of the tender by the Institute at its position. Additional conditions or stipulations, if any must be entered below the schedule or attested thereto, duly 
authenticated by the tenderer. Any statement and/cr letters signed separately and issued to the Institute either before or after the tender may not be considered. 
8.    If the tenderer be a firm, all partners of the firm or such person or persons as may be legally competent to sign for the firm should sign the tender documents. If the tenderer be a company, the common seal of the company should be affixed to the tender documents and the documents should be signed by such person or persons as may be authorised by the articles of association of the company to sign for and on behalf of the company. A copy of the articles of association should be sent with the tender. In any case, the tenderer should disclose his constitution and copies of all necessary legal documents in support thereof such as the duly registered partnership deed in the case of partnership firm should be submitted with the tender and the originals thereof should be produced as and when called for by the Institute.

9.   Each tenderer, shall submit a declaration as to whether he is an individual, firm or association of firms, company or corporation and that he has successfully carried out works of the type and magnitude covered by these tender documents and has the requisite organisation including technical and other personnel and financial and other resources to handle the work. Full information, supported by documentary evidence shall be furnished by the tenderer in regard to the following, among other things, so as to demonstrate his ability to undertake the work as specified.

a)   In the case of firm, company or corporation:-.

The legal name, the nature of the business and the date and place of registration (including the state of incorporation where it is a corporation).

    ii)         The authorised, subscribed and paid-up capital and

The names and addresses of all directors including those of the chief executive, president, secretary or the person authorised to bind the firm, company or corporation in the matter.

b)   In the case of partnership the names and addresses of all the partners.

c)   In the case of an association of firms, the details of all participating firms.

Previous experience, with details of work of the type and magnitude covered by those tender documents executed already together with a certificate of satisfactory execution of the works from a person not less than a rank of the executive engineer.

Details of other works, if any, tendered for and in hand on the date of submission of the tender.

Full details of technical personal of the tenderer who will be assigned to this work.

Complete details (with full specifications) of equipment which will be employed by him on the works covered by those tender documents.

Sufficient facts concerning financial resources with a certificate from his bankers regarding his credit worthiness and financial standing.

i)   Certified copies of the registration as a contractor in any PWD, Railways or MES.

Non submission of documentary evidence on any of the aforementioned aspects may render the tender liable to summery rejection. The institute will be the sole judge as to the merits of the tenderer’s  ability to perform the work.

10.  Unless specifically exempted, every tenderer shall enclose with the tender a proper income tax clearance certificate and sales tax certificate from the approved authority without which the tender may not be considered.

11.  The quantities of work given in the schedule of quantities are approximate and are subject to variation depending upon the ground, strata and other conditions under which the works are actually carried out and cannot and shall not from the basis of a dispute regarding the rates to be paid or give rise to any claim for compensation on any account. The engineer also reserves the right to add, substitute or delete any of the items in the schedule of quantities and no extra claim on this account shall be entertained. Such variations shall from part of the contract and shall not called in question. 
12.   Item-rate Tenders:

a) The total amount calculated on the basis of the unit rates should be shown against each component item of works in the schedule of quantities and rates, and the final total of the contract price indicated at the end, as those are required for the purpose of comparing various tenders received. Tenderers are informed that the unit rates quoted by them will from the basis of payment for the actual quantities of work done and that no alternation therein or corrections thereto will be allowed after the tender has been delivered to the Institute.

b) Unit rates should be expressed in words as well as in figures.

c) If it is found on examination of a tender that there is any discrepancy in the total amount inserted in the schedule of quantities and rates. The Institute will correct the said details in accordance with the unit rates which will be binding on the tenderer as if set down by him.

d) The unit rates inserted in the schedule of quantities and rates shall be all inclusive, covering the cost of personal equipment, materials, and other facilities and operations necessary for the satisfactory completion of the work and shall include all charges for handling, transport, land, lift, labour housing, sanitation and medical facilities for labour, construction tools and plant, electric power and water, consumable stores, workshop, insurance, payment of taxes and duties, watch and ward arrangements, lighting, pumping and all other expenses of every description which under the contract act are to be borne by the contractor.

e) Tenders must cover the entire schedule of quantities and rates and addenda if any thereto. The institute will not entertain tenders for individual items of schedule.
13.  When tenderer signs a tender in an Indian language, the total amount tendered should be written in the language also.

14.  The contractor to whom the contract is awarded shall so arrange and plan the progress of work that the entire work is completed in all respects and handed over to the Institute within the period specified in the tendered notice reckoned from the date of the written order conveying acceptance of the tender. On this respect the time as against the contractor shall be of the essence of the contract.

15.  The earnest money shall be liable to be forfeited without prejudice to the other rights and remedies of the Institute in the event of the tenderer failing ( a ) to keep his tender valid and open for acceptance by the Institute for and during the period of three months reckoned from the date of opening of tenders, or ( b ) to execute a formal instrument of agreement governing the contract within 15 days of the date of intimation of acceptance of tender, or ( c ) to furnish, the requisite certificates etc. within the specified time limits, or ( d ) to commence the work within fifteen days from the date of intimation of acceptance of tender. In the event of default on the part the successful tenderer as at (b) and (d) above the acceptance of the tender by the Institute may at the discretion of the company be demand to have been with drawn and cancelled. The Institute shall have the right to make other arrangements for execution of the work covered by the contract at the risk and cost of the selected contract or without prejudice to such other rights and remedies as the company may have against the contractor. 

16.  Successful and unsuccessful tenders will be advised of the result by the institute by a letter.

17.  Should the tenderer have relative or relatives, or in the case of a firm or company of contractors, one or more of its shareholders or a relative or relatives of the shareholders employed in any capacity in the company, the tenderers should furnish complete information to that effect at the time of submission of the tender.

18.  The work shall be executed as per the schedule of construction. The contractor may however, submit a phased programme of construction for the approval of the engineer and such an approved programme shall be strictly adhered to by the contractor or his representative at site who will also fix up with the engineer for a review of the progress of construction work daily and weekly. Not withstanding the approved programme, the contractor shall carry out the work as per instructions from time to time for completing the works or part of the work of times of work required urgently, failing which the same will be got done through other agencies at the cost and responsibility of the contractor. Relevant clauses for compensation for delay may also be refunded to.

19.  The Institute reserves the right to consider the tender as a whole or split up tender at its discretion and award the work / works to different contractors for which the contractors shall have no additional claims what so ever on that account.

20.  Receipts for payment made on account of a work, when executed by a firm must also be signed by the several partners, except where the contractors are described in their tender as a firm in which case the receipts must be signed in the name of the firm by one of the partners, or by some other person having authority to give such receipts for the firm. 

21.  Tenders which do not fulfil all or any of the above conditions or are incomplete in any respect are liable to be rejected.

22.  The right of accepting any tender or rejecting any or all tenders without assigning any reason is reserved.

23.  The successful tenderer shall be required to execute an agreement in the prescribed proforma on a stamped paper of requisite value (at his cost) within 15 days from the date of issue of the letter of acceptance of his tender.

24.  The contract, agreement or instrument, executed by the successful tenderer is subject to the General Condition of contract set out by the Institute.
25.  For the work being tendered through these papers, all expressions therein as ‘Institute’ shall be considered as referring to ‘Fluid control Research Institute’, Kanjikode West, Palakkad – 678 623, Kerala.
26. COMPENSATION FOR DELAY – LD (Liquidated Damages) Clause

The time laid down for carrying out the work as entered in the time schedule for completion of work attached to the tender shall be strictly observed by the contractor and the work shall be completed in all respects within the dates stipulated therein. The work shall throughout the stipulated period in the contract be proceeded with all due diligence, (time being deemed to be of the essence of the contract on the part of the Contractor) and the contractor shall pay as compensation an amount equal to half percent or such smaller amount as the Engineer, whose decision in writing shall be final, may decide, of the tendered amount for the whole work for every week, or part thereof, the work remains un-commenced or unfinished after the proper dates as aforesaid. The contractor shall further ensure that the work is executed with due diligence throughout so as to maintain a uniform rate of progress. Provided always that the entire amount of compensation to be paid under this clause shall not exceed 10% of the estimated cost as shown in the tender.

27. Other construction works also will be held at the same time in the same worksite. The Contractor shall carryout the work in co-operation and unison with the other Contractors as per the direction of Engineer in-charge.    
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I. DEFINITIONS AND INTERPRETATIONS

1 (a) In the General Conditions of Contract and the contract documents as hereinafter defined, if the contract so admits, the following words and expressions shall have the following meanings.

i) The term 'Company’ shall mean an authority or corporation requiring the works specified in the tender to be carried out and so designated in the agreement and shall include his or their successors and assigns.

ii) The term 'Management’ shall mean the officer nominated by the Company to deal with matters pertaining to the contract wherever provision is made in the contract for any matter to be dealt with by him. The Officer so nominated shall be specified in the Agreement.

iii) The term 'Consultant' shall mean the consultant so designated by the Company and/or every other office authorised by the Consultant for the time being to deal with matters relating to the contract,

iv) The term 'Engineer' shall mean the. Company’s Engineer in executive charge of the works and shall include his superior officers.

v) The term 'Engineer's Representative’ shall mean the authorized representative of the Engineer and shall include his superior officers.

vi) The term 'Contract' or 'Contract Document’ shall mean, the contract documents collectively, comprising the agreement, General Conditions of Contract, Special Conditions of Contract, Specifications, Time schedule of Works, information and instructions to tenderers. Accepted Schedule and other documents and drawings constituting the tender and acceptance thereof.

vii) The term 'Contractor' shall mean the person, firm or company with whom the contract has been placed and shall be deemed to include the Contractor's successors, representatives, heirs, executors and administrators unless specifically excluded by the contract.

viii) The term 'Works' shall mean and include all works and things and services to be executed, supplied or done by the Contractors under the contract,

ix) The term 'Constructional Plant’ shall mean all appliances or things of whatsoever nature required in, for or about the execution, completion of maintenance of the works or temporary works but does not include materials or other things intended to form port of the permanent work.

x) The term 'Temporary Works' shall mean all temporary works of every kind required in, for or about the execution, completion or maintenance of the works.

xi) The term 'Site' shall mean the lands and other places on, under, in or through which the works are to be executed or carried out and included any other places provided by the Company for the purposes of the contract.

xii) The term 'Accepted Schedule' in relation to the Contract means the Schedule or Schedules of quantities and rates of such contract in respect of which the tender is accepted.

xiii) The term ' Drawings' shall mean the maps, drawings, plans and design or prints thereof annexed to the contract documents and shall include any modifications of such drawings and further drawings as may be issued or approved in writing by the Engineer from time to time.

xiv) The term 'Alteration Order' shall mean an order given by the Engineer to effect additions to or alterations in the works.                                    

xv) The term 'Period of Liability' in relation to a work shall mean the specified period from the date of issue of completion certificate upto the date of issue of final certificate during which the contractor has the responsibility for correcting all defects that may appear in the works.

xvi) The term 'Schedule Rate' shall mean the tendered rates of the contract in respect of which the tender has been accepted.

xvii) The term 'Specifications' in relation to material or work shall mean the quality and mode of doing the work as specified in the tender documents.

xviii) The term 'Completion Certificate' shall mean the certificate to be issued by the Engineer when the work has been completed.

xix) The term 'Month’ shall mean calendar month of the Gregorian calendar.

xx) The expression 'In writing' or 'Written' shall be construed as including references to printing, lithography, photography and other modes of representing or reproducing of the work in a visible form.

xxi) Words in the singular shall include the plural and vice versa where the context so required.

xxii) Writing shall mean any manuscript, typewritten or printed statement under seal or in hand.

1 (b) The heading or marginal headings in these General Conditions are solely for the purpose of facilitating references and shall not be deemed to be part thereof or to be taken into consideration in the interpretations or construction thereof or of the contract.

II. GENERAL OBLIGATIONS
2. DESCREPANCIES IN CONTRACT DOCUMENTS

The several documents forming the contract are to be taken as complementary and mutually explanatory of one another and what is called for by all. Should there be any discrepancy, or any inconsistency, error or omission in the contract documents or any one of them, the matter shall be referred to the Engineer for his decision which shall be final and conclusive and the contractor shall carry the work in accordance with such decision.

3. PARTIALLY OMITTED PARTICULARS

Works shown on the drawings and not mentioned in the specifications or described in specifications without being shown in the drawings, shall nevertheless be held to be included in the same manner as if they had been specifically shown upon the drawings, and described in the specifications.

4. COMMUNICATIONS TO BE IN WRITING

All notices, communications, references and complaints made by the Engineer or the Engineer’s representative or the Contractor concerning the works shall be in writing and no notice, communication, reference or complaint, not in writing shall be recognized.

5. SERVING OF NOTICE ON CONTRACTOR

The contractor shall furnish to the Engineer the name, designation and address of his authorized agent and all complaints, communications and references shall be deemed to have been duly given to the contractor if delivered to the contractor or his authorized agent or left at or posted to the address so given and shall be deemed to have been so given on the date on which they were so delivered or left or in the case of posting on the date on which they might have reached such address in the ordinary course of post on which they were so delivered or left.

6. THE TIME OF PERFORMANCE

The Work covered by this contract shall be commenced within the time stipulated in the tender documents and complete within the specified period, time being the essence of this Agreement, unless such time be extended pursuant to the provisions of clause B.

7. EXTENSION OF TIME

If the contractor shall desire an extension of the time for completion of the work on account of any modification having been ordered or on the ground of his having been unavoidably hindered in its execution or by delay authorized by the Engineer pending arbitration or on account of any other cause, he shall supply in writing to the Engineer within 10 days of the date of the hindrance on account of which he desires such extension as aforesaid and the Engineer shall give an option which shall be final, and on reasonable ground, authorize such extension of time, if any, as may in his opinion be necessary or proper.

In the event of any failure or delay by the Company to hand over to the contractor possession of the lands necessary for the execution of the works or to give the necessary notice to commence the work or to provide the necessary drawings or instructions or any other delay caused by the Company due to any other cause whatsoever, then such failure or delay shall in no way effect or vitiate the contract or alter the character thereof or entitle the contractor to damages or compensation thereof or but in any such case the Company may grant such extensions of the completions date as may be considered reasonable.
8. PROPORTIONAL PROGRESS

The works comprised in this tender are to be commenced without any delay on receipt of written orders from the Company to commence work. The time allowed for carrying out the work as entered in the tender shall be strictly observed by the Contractor/s and shall be reckoned from the date on which the order to commence work is given to the contractor/s. And further to ensure good progress during the execution of the work, the contractor/s shall be bound, in all cases in which the time allowed for any work exceeds one month, to complete one-fourth of the whole of the work before one-forth of the whole time allowed under the contract has elapsed, one half of the work, before one half of such time has elapsed, and three-fourths of the work, before three-fourths of such time has elapsed.  In the event of the contractor/s failing to comply with this condition he/they shall be liable for action according to clause 10.

9. COMPENSATION FOR DELAY 

The time laid down for carrying out the work as entered in the time schedule for completion of work attached to the tender shall be strictly observed by the contractor and the work shall be completed in all respects within the dates stipulated therein. The work shall throughout the stipulated period in the contract be proceeded with all due diligence, (time being deemed to be of the essence of the contract on the part of the Contractor) and the contractor shall pay as compensation an amount equal to half percent or such smaller amount as the Engineer, whose decision in writing shall be final, may decide, of the tendered amount for the whole work for every week, or part thereof, the work remains un-commenced or unfinished after the proper dates as aforesaid. The contractor shall further ensure that the work is executed with due diligence throughout so as to maintain a uniform rate of progress. Provided always that the entire amount of compensation to be paid under this clause shall not exceed 10% of the estimated cost as shown in the tender.

10. TERMINATION OF CONTRACT OWING TO DEFAULT OF CONTRACTOR

A.   In any case in which under any clause or clauses of this contract, the contractor shall have rendered himself liable to pay compensation amounting to the whole of his security deposit or if the contractor should. 

(i) become bankrupt or insolvent or

(ii) make an arrangement, with or assignment in favour of his creditors or agree to carry out the contract under a committee or inspection of his creditors, or 

(iii) being a Company or corporation, go into liquidation (other than a voluntary liquidation for the purposes of an amalgamation or reconstruction) or

(iv) have an execution levied on his goods or property on the works, or

(v) assign the contract or any part thereof otherwise than as provided in clause 13 of these conditions, or

(vi) abandon the contract, or

(vii) persistently disregard the instructions of the Engineer or contravene any provision of the contract or 
(viii) fail to-adhere to the agreed programme of work, or
(ix) fail to remove materials from the site or rectify defective work after receiving from the Engineer notice to the effect that the said materials or works have been condemned or rejected or,

(x) fail to take steps to employ competent or additional staff and labour as required under clause 18 of these conditions or

(xi) fail to afford the Engineer or Engineer's representatives proper facilities for inspecting the works or any part thereof as required under these conditions or 

(xii) promise, offer or give any bribe, commission, gift or advantage either himself or through his partner agent or servant to any officer or employees of the Company, or to any person on his or on their behalf in relation to the exertion of this contact, then and in any one of the said causes the Engineer shall serve the contractor with a notice in writing to that effect and if the contractor does not, within seven days after the delivery to him of such notice proceed to make good his default in so far as the same is capable of being made good and carry on the work or comply with such direction as aforesaid to the entire satisfaction of the Engineer, the Company shall be entitled after giving 48 hours notice in writing under the hand of the Engineer to rescind the contract as a whole or in part or parts (as may be specified in such notice) and adopt either or both of the following courses.

a) To carry out the whole or part of the work from which the contractor has been removed by the employment of the required labour and materials, the costs of which shall include lead, lift, freight, supervision and all incidental charges.

b) To measure up the whole or part of the work from which the Contractor has been removed and to get it completed by another contractor, the manner and method in which such work is completed shall be in the entire discretion of the Engineer whose decision shall be final; and in both the cases (a) and (b) mentioned above, the Company shall be entitled (i) to forfeit the whole or such portion of the security deposit as it may consider fit, and (ii) to recover from the Contractor the cost of carrying out the work in excess of the sum which would have been payable according to the certificate of the Engineer to the Contractor if the works had been carried out by the Contractor under the terms of the contract, such certificate being final and binding upon the Contractor. Provided, however, that such recovery shall be made only when the cost incurred in excess is more than the security deposit proposed to be forfeited and shall be limited to the amount by which the cost incurred in excess exceeds the security deposit proposed to be forfeited. The amounts thus to be forfeited or recovered may be deducted from any moneys then due or which at any time thereafter may become due to the Contractor by the Company under this or any other contract or otherwise.

In the event of any of the above courses being adopted by the Engineer, the Contractor shall have no claim to compensation for any losses sustained by him by reason of his having purchased, or procured any materials or entered into any engagement or made any advances on account of or with a view to the execution of the work or the performance of the contract and in case the contract shall be rescinded under the provisions aforesaid, the Contractor shall not be entitled to recover or be paid any sum for any work theretofore actually performed under this contract unless and until the Engineer shall have certified in writing the performance of such work and the value payable thereof and he shall only be entitled to be paid the value so certified. 

The Company shall not be liable to pay to the Contractor any moneys on account of the contract as aforesaid until the expiration of the period of maintenance and thereafter until the cost of completion, any, and all other expenses incurred by the Company have been ascertained and the amount thereof certified by the Engineer. 
(B) Without prejudice to any of the rights or remedies under this contract, if the Contractor dies, the Company shall have the option of terminating the contract without compensation to the Contractor.

 11. CONTRACTOR REMAINS LIABLE IN ACTION NOT TAKEN ON CLAUSE 10
In any case in which any of the powers conferred upon The Engineer by clause 11 thereof shall have become exercisable and the same shall not be exercised, the non-exercise thereof shall not constitute a waiver of any of the conditions hereof and such power shall notwithstanding be exercisable in the event of any future case of default by the contractor for which by any clause or clauses hereof he is declared liable to pay compensation amounting to the whole of the security deposit or for any other cause under clause 11 hereof and the liability of the Contractor for past and future compensation shall remain unaffected. 
In the event of the preceding clauses being put into effect the Engineer may, if he so desires, take possession of all or any tools, plants, materials and stores in or upon the works or outside thereof or belonging to the Contractor or procured by him an intended to be used for the execution of the work or any part thereof, paying or allowing for the same an amount at the contract rates or in case of these not being applicable at current market rates to be certified by the Engineer whose certificate thereof be final otherwise the Engineer may, by a written notice to the Contractor or his authorised agent on the site, require him to remove such tools, plant, materials or stores from the premises within a time to be specified in such a notice, and in the event of the Contractor failing to comply with any such requisition, the Engineer may remove them at the Contractor's expense or sell them by auction or private sale on account of the Contractor and at his risk and responsibility without any further notice as to the date, time or place of sale and the certificate of the Engineer as to the expense of any such removal and the amount of proceeds and expense of any such shall be final and conclusive against the contractor.

12. CONTRACT NOT TO BE ASSIGNED

i) The Contractor shall not assign or sublet the contract or any part thereof or allow any person to be become interested therein in any manner whatsoever without the special permission of the Engineer. Any breach of this condition shall entitle the Company to rescind the contract. The Engineer may, however, give written consent for the execution of certain of the details of the works by petty contract under the direct and personal supervision of the contractor or his agent. Each individual sub-contract under this provision is to be submitted to the Engineer and his written consent obtained before being entered into. A consolidated list of such sub- contractors shall be maintained by the Contractor his agent and shall be sent to the Engineer regularly.  

The permitted sub-letting of the work by the Contractor shall not establish any contractual relationship between sub-contractor and the Company and the contractor shall be and shall remain solely responsible for the qualify and proper and expeditious execution of the works and the performance of the condition of the contract as it such sub-letting had not taken place.

(ii) THE ENGINEER MAY TERMINATE SUB-CONTRACT

If any sub-contractor engaged upon the work at the site execute any work which in the opinion of the Engineer is not in accordance with the contract documents, the Engineer may by written notice to the Contractor, require him to terminate such sub-contractor and the Contractor shall upon the receipt of such notice, terminate such sub-contract and dismiss the Subcontractor and the latter shall forthwith leave the work.

 (iii) NO REMEDY FOR ACTION TAKEN UNDER THIS CLAUSE

No action taken by the Engineer under this clause shall relieve the contractor of any of his liabilities under the contract or give rise to any right to compensation, extension of time or otherwise.

13.   FACILITIES FOR WORK NOT INCLUDED IN THF CONTRACT

The Company reserve to itself, its representatives, workmen and such others whom it may appoint or allow, free access to the site and the right to occupy and use any portion of the work or the site for the purpose of executing or doing by itself or by and through any representative or Contractor or workmen, any kind of work, matter or thing whatsoever not included in this contract.

14. CONTRACTOR TO OBTAIN HIS OWN INFORMATION

The details given in the tender documents are to help the tenderer to make up his tender and their correctness, is not guaranteed. The contractor in fixing the schedule rates shall, for all purposes whatsoever, be deemed to have himself independently obtained all necessary information for the purpose of preparing his tender.

The Contractor shall be deemed to have visited and carefully examined the site and its surroundings, to have satisfied himself as to the nature of all existing works and buildings; also as to the nature and difficulty of existing railways, roads, bridges and culverts, means of transport communications whether or land, water of air and as to possible interruptions thereto and the accesses to and egress from the site; to have made enquiries Examined and satisfied himself as to the sources for obtaining sand, stones, bricks, explosives and other materials, the sites for disposal of surplus materials, the available accommodation as to land whenever required, temporary and such other buildings as may be necessary for executing and completing the work to have made local and independent enquiries as to the sub-soil water and variation thereof, storm prevailing winds, climatic conditions, rainy season, general and other similar matters, to have investigated and studied the nature of the ground to be excavated, the strate therein and possible variation thereof to have examined the trail pits on the site and all information available there from; to have satisfied himself as to sources and means of obtaining adequate supplies of skilled and unskilled labour, also of materials required for the works and transport thereof; to have considered the possibilities of delay or inconveniences that may be caused to his operations by reasons of the breakdown of communications, storms, floods, weather conditions or by any other cause, to have acquainted himself as to his liability for payment to Government, taxes, custom duties and other charges, to have examined  the contract documents; to have generally obtained his own information on all matters whatsoever that might affect the carrying out of the work at scheduled rates and to have satisfied himself as to the sufficiency of his tender. Any omission or failure on the part of the Contractor for obtaining necessary and reliable information upon the foregoing or any other matter affecting the contract, shall not relieve him from any risks or liabilities of the entire responsibility to the completion of the contract at the scheduled rates in strict accordance with the Contract documents. No verbal agreement or inferences from conversation with any officer or employees of the Company, either before or after the execution of the contract agreement shall effect or modify any of the terms or obligations herein contained.

15.  NO COMPENSATION FOR INACCURACIES

In particular, no payment, compensation or allowance will be paid to the Contractor nor will the Contractor be entitled thereto by reason of any extra expense or loss which may be caused or arise during the execution of the contract from.

a)  Inaccuracies, misstatements or omissions in the contract/tender documents or any other information as to surface, water, soil conditions or levels or to the underground water or otherwise.

b) Any other error, misstatement or omission whatsoever in the contract documents or any of these or any other information supplied to the contractor. The rates quoted shall be deemed to cover and provide for all such risks.
16.   CONTRACTOR'S OFFICE DIM SITE

The Contractor shall provide and maintain an office on the site for the accommodation of the agent and staff and such office shall be open at all reasonable hours to receive instructions, notices or other communications. 

17.   CONTRACTOR'S STAFF

The Contractor shall provide to the satisfaction of the Engineer sufficient and qualified and experienced staff including an Engineer as stipulated in the special conditions of Contract to superintend the execution of the works so as to ensure work of the best quality and expeditious working. Whenever in the opinion of the Engineer this is not the case, additional and properly qualified staff shall be employed by the contractor without additional charges on account thereof.

18.   MISCONDUCT OF CONTRACTOR'S STAFF OR EMPLOYEES

(i)   If any whenever any of the Contractor's or sub-contractor's agents, sub-agent's, Assistant, Foreman or any other employee shall, in the opinion of the Engineer, be guilty of any misconduct or be incompetent or indifferently qualified or negligent in the performances of his duty or if in the opinion of the Engineer, it is undesirable, for any reason whatsoever, for any such person or persons to be employed in the works, the Contractor, if so directed by the Engineer, shall at once remove from the works the person or persons so directed and they shall be immediately replaced at the expense of the contractor by a qualified and competent substitute. The Contractor shall have no claim on the Company for any cost in connection therewith.

(ii)  The Contractor shall be responsible for the proper behavior of all his employees and shall prohibit and prevent any employee from acting in a way detrimental or prejudicial to the interest of the community or to the proprietors or "occupiers of land and property in the neighborhood.
(iii) The Contractor shall indemnify the Company from and against all actions, suits, proceedings, losses, costs, damages, charges, claims and demands of every nature and description brought or recovered against the Company by reason of any act or omission of the contractor, his agents or employees.
(iv) All sums payable by way of compensation under any of these conditions shall be considered as reasonable compensation to be applied to the use of the Company without reference to the actual loss or damage sustained and whether or not any damage shall have been sustained.

19.   ILLEGAL GRATIFICATION

Any bribe, commission, gift, gratuity, advantage or inducement promised or offered by or an behalf of the Contractor or his partner, agent or servant or any one, on his or on their behalf to any officer or employee of the Company or to any person or his or their behalf in relation to the execution of this contract, shall in addition to any criminal liability which he may incur subject the contractor to the termination of the contract forthwith and all moneys, of any, which is due to the contractor shall be forfeited to the Company without prejudice to the right of the company to sue the Contractor for any excess cost incurred by the Company in consequences of such action, as may be considered necessary for carrying on and completing the work.

20.   RELICS

The Contractor shall have no right or claim to any gold, silver, and other minerals of any description or any precious stones, coins, precious relics and antiquities and other similar things which may be found in or upon the site and the Contract or shall duly preserve the same as directed by the Engineer and shall deliver the same to such person or persons as the Company may appoint. All such finds shall be immediately intimated to the Engineer or his representative.

21.   EXCAVATED METERIALS

The Contractor shall not sell or otherwise dispose of or remove, except for the purpose of this contract, the earth, rock or other substances or materials which may be obtained from on excavation made for the purpose of the works, or any building or any produce upon the site at the time of delivery of possession thereof but all such substances, materials, buildings and produces shall be property of the Company.
22.   STORAGE AND USE OF DANGEROUS MATERIALS
The Contractor and sub-contractors shall convey stock or make use of all explosive dangerous petroleum acetylene, carbide of calcium and other similar materials provided by them for use on the works in strict accordance with the instructions of the Engineer and the provisions of all laws, orders and regulations that are in force at the site or may be issued from time to time by the relevant authority or Government. No explosive shall be used on the site without the permission of the Engineer and then only in the manner and to the extent permitted by the Engineer.

23.   SANITARY MEASURES

The Contractor shall comply in all respects with the rules and regulations of the sanitary authorities, as regards the drainage and other sanitary requirements in connection with the dwellings, offices and other buildings erected by him for the use of the staff and he shall provide efficient and sanitary latrine accommodation wherever required on the works with all proper drainage and conservancy.  
24.   POLLUTION OF STEAMS AND WATER WAYS

The Contractor shall take all possible precautions to secure the efficient protection of all streams, channels and waterways against pollution during the execution of the works.           
25.   THE CONTRACTOR IS RESPONSIBLE FOR ACCIDENTS 

The Contractor shall be absolutely and solely responsible for accidents and injuries whether fatal or otherwise, damage or losses occurring to any person property or thing resulting from or in the opinion of the Engineer be traceable to the operation of the Contractor or his sub-contractor, agents or employees in the execution of the work or otherwise or to any failure on the part of the contractor to observe and perform any of his obligation's in the contract document. The responsibility of the Contractor as above described, shall extend to all cases of accidents, injuries and damages and losses which may occur to any person, property or thing, including but not by any way limiting:

(a) the public

(b) persons employed upon or about the works by the Company, the Engineer and his staff, the Contractor and his sub-contractors.

(c)   any person being for any lawful purpose upon or about the works.

(d)  the lands, buildings, railways, roads, bridges, property, interest and rights of the company, of the public and all parties affected or interfered with.

(e) the works themselves whether permanent or temporary

  (f)  all buildings on the site.

(g) all work yards and materials.

26. EVERY THING AT CONTRACTORS RISK

The Contractor shall undertake all risks and liabilities of whatever kind arising out of the works including, by way of amplification but not by way of limitation, all risks attendant on the nature of the site, the soil, sub-soil, the levels and consistency of strata in or on which the works are to be found or constructed. Also ail risks of fire, floods, gales, of winds, variation of water levels in sub-soil, quantities of water to be pumped, discharges of existing water courses and rains, traffic delays and other causes, whether in or beyond contractor's control, which may affect the works during the construction and all damages which may happen in any way howsoever to the works during their progress shall be made good by the Contractor at his own expense.

27.   CONTRACT TO BE AN INDIAN CONTRACT

The contract shall be and deemed to be an India contract and shall accordingly be governed by and constructed according to the laws for the time being in force in India and Indian Courts shall have exclusive jurisdiction to hear and determine all actions and proceedings arising out of the contract and the Contractor hereby submits to the jurisdiction of the Indian courts for the purpose of any such action and proceedings.

28.   COMPLIANCE OF REGULATION AND BYE-LAW

The Contractor shall conform to the provision of any statue relating to the works and regulations and byelaws of any local authority and of any water and lighting Companies or Undertakings whose system the work is proposed to be connected and shall, before making any variation from the drawings or the specifications that may be necessitated by so conforming, give to the Engineer notice specifying the variations, and shall not carry out such variation until he has received written instructions from the Engineer in respect thereof. The Contractor shall be bound to give all notices required by statue, regulations or bye-laws as aforesaid and to pay all fees and taxes payable to any authority in respect thereof.
29.   TEA SHOP TO BE AUTHORISED

No tea shop or any sundries shop except an authorised and licensed one, shall be allowed in the camp area or in the works area. For any unauthorised shop, if traced, the Contractor shall be held responsible and action as deemed fit may be taken against him.    

30.   SECRECY

The Contractor shall maintain secrecy of the details of works and shall not disclose it to any unauthorised person without prior approval of the Department 
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31.   DISCREPANCIES BETWEEN INSTRUCT IONS

Should any discrepancy occur between the various instructions furnished to the contractor, his agent or staff or any doubt arise as to the meaning of such instructions, or should there be any misunderstanding between the Contractor's staff and the Engineer's staff, the contractor shall refer the matter immediately, in writing, to the Engineer whose decision thereon shall be final and conclusive, and no claim for losses, alleged to have been caused by such discrepancy between instructions, doubts, or misunderstanding shall in any event be admissible.
32.   DETAILED SCHEME OF PROCEDURE

The Contractor shall, within reasonable time after the acceptance of the tender, prepare at his own cost and submit to the Engineer a detailed scheme of procedure and programme that he will adopt in carrying out the work, keeping in view the time schedule attached. The number and sizes of all items of constructional plant he proposes to use in carrying out the work, and the items of the temporary work he proposes to construct and erect in elaboration of the above should be submitted. If the Engineer consider it desirable, he may make any modifications or alterations and the contractor shall be bound to conform thereto with out any additional payment to him and without relieving him of the responsibilities under this contract.
33.   EXECUTION OF THE WORKS

The whole of the work shall be executed in strict conformity to the drawings and specifications and the previsions of the contract documents and with such instructions as may be furnished from time to time to the Contractor by the Engineer or may be approved by the Engineer whether mentioned in the contract or not. The Contractor, if he so requires shall be entitled at his own expense to make or cause to be made copies of the specifications and of such drawings, designs and instructions as aforesaid for use in the works only.
34.   ALTERATION IN SPECIFICATIONS AND DESIGNS 

The Engineer shall have power to make any alterations in, omissions from, addition to or substitution for the original specifications, drawings, designs and instructions that may appear to him to be necessary or advisable during the progress of the work and the Contractor shall be bound to carry out the work in accordance with any instructions that may be given to him in writing by the Engineer and such alterations, omissions, additions or substitutions shall not invalidate the contract. Any alteration, additional or substituted work which the Contractor may be directed to do in the manner above specified, shall be carried out by the Contractor on the same conditions in all respects on which he agreed to do the main work and at the same rate as specified in tender for the main work.

35.   EXTRA WORKS

Notwithstanding anything said in the previous clause, should works over and above those included in the contract require to be executed at the site, the contractor shall have no right to be entrusted with the execution of such work which may be carried out by another which may be carried out by another contractor or by other means at the option of the Company. The Company may, however, in the interest of the work, at its sole discretion entrust such extra work to the contractor as herein fore specified. 

36. RATE FOR EXTRA ITEMS

If the altered, additional or substituted work or any additional work required to be executed as a result thereof includes any class of work for which no rate is specified in this contract and the tender for the original work is percentage below/above a specified schedule of rates on the basis of which the tender schedule has been prepared, the altered, additional or substituted work required as aforesaid shall be chargeable at the rate entered in the said schedule below/above the tendered percentage, or if the item of work does not exist in the said schedule then at the rate analysed on the basis of that schedule minus/plus the same percentage below/above. If however, such class of work is neither entered in, nor con be analysed on the basis of the same schedule or if the tender is on item rate basis, then the contractor shall within seven days of the date of receipt of order to carry out the work, inform the Engineer of the rate which it is his intention to charge for such class of work and if Engineer does not agree to this rate and a rate cannot be mutually agreed upon between the Contractor and Company, the Engineer shall, by notice in writing be at liberty to cancel his order to carry out such class of work and arrange to carry it out in such manner as he may consider advisable provided always that if the Contractor shall commence work or incur any expenditure to regard thereto before the rates shall have been determined as lastly wherein before mentioned, then and in such case he shall be entitled to be paid in respect of work carried out or expenditure incurred by him prior to the work carried out or expenditure incurred by him prior to the date of the determination of the rates as aforesaid according to such rate or rates only shall be fixed by the Engineer. No deviations from specifications in this contract shall be made or additional items of work unless the rates of such substituted, altered or additional items of work unless the rates of such substituted, altered or additional items of work unless the rates of such substituted, altered or additional items have been approved in writing by the Engineer, failing which Company shall not be liable for any claims in, this account.
37.   INSTRUCTIONS OF ENGINEER'S REPRESENTATIVE

The Contractor, his Agent and his staff shall attend to, execute without delay and strictly comply with all orders and instructions, that may be issued to him from time to time by the Engineer or his authorized representatives, and a site order book shall be maintained for recording all such instructions given at site and all such instructions shall be signed by the Contractor or his agent as a token of receipt thereof.

38.   Any instructions or approvals given by the Engineer's representative to the Contractor in connection with the works shall bid the Contractor as though it had been given by the Engineer, Provided always as follows: -
(a)   Failure of the Engineer's representative to disapprove any work or material shall not prejudice the powers of the Engineer thereafter to disapprove such work and material and to order the removal or breaking up or rectification thereof.

(b) If the Contractor shall be dissatisfied by reasons of any decision of the Engineer's representative, shall be entitled to refer the matter to the Engineer, who shall thereupon confirm or vary such decision.

39.   RESTRICTION OF WORKS TO BE CARRIED OUT 

If at any time after the commencement of the work the Engineer shall for any reason whatsoever, not require the whole thereof as specified in the tender to be carried out, the Engineer shall give notice in writing to the effect to the Contractor, who shall have no claim to any profit or advantage which he might have derived from the execution of the work in full but which he did not derive in consequence of the full amount of the work not having been carried out. Neither shall he have any claim for compensation by reason of any alteration to specifications, drawings, designs or instructions which shall involve any curtailment of the work as originally contemplated. 

40.   QUALITY OF WORK

The Contractor shall be responsible for ensuring that the works throughout are executed in the most substantial, proper and workmanlike manner in strict accordance with the specifications and to the entire satisfaction of the Engineer and in such order of time as the Engineer may direct, notwithstanding that certain portion of the work may be executed by subcontract, All workmanship, shall be of the respective kinds described in the contract and in accordance with the instructions and specifications and shall be subjected from time to time to such taste at such places as the Engineer may direct. The Contractor shall provide at his own cost all instruments, labour and materials, ladders, pumps, appliances and things of other kind, as may be required for examining, measuring and testing any workmanship as may be selected and required by the Engineer.

41. WORKS AT NIGHT 

If the Contractor is required to work at night in order to complete the work within the time schedule the contractor shall provide and maintain at his own cost, sufficient lights as will enable the work to proceed satisfactorily without danger. Similarly the approaches to the site and works where any work is being carried out shall be sufficiently lighted; all arrangements adopted for such lighting shall be to the satisfaction of the Engineer, No claim for compensation on this account will be admissible

42.  WATCHING AND LIGHTING

The Contractor shall provide and maintain at his own cost all lights and watching man where necessary or required by the Engineer for the protection of the works, or for the safety or convenience of the public or others.

43.   INSPECTION OF WORKS

The Engineer will have full power and authority to inspect the work at any time wherever in progress either on the site, at the contractor's premises or at the premises wherever situated of any person, firm or corporation where work in connection with the contract may be in hand and when materials are being brought to be supplied and the contractor shall afford or procure for the Engineer every facility to carry out such inspections. The Contractor shall at all times during the working hours and at all other times at which reasonable notice of the intension of the Engineer or his representative to visit the works shall have been given to the Contractor, either himself be present to receive orders and instructions or have a responsible agent duly accredited in writing for the purpose. Orders given to the Contractor's agent shall be considered to have the same force as if they had been given to the Contractor himself

44.   NOTICE TO BE GIVEN BEFORE WORK IS COVERED UP

The Contractor shall give not less than 5 days notice in writing to the Engineer before covering up or otherwise placing beyond the reach of measurement any work in order that the same may be measured and correct dimensions thereof be taken before the same is not covered up or placed beyond the reach of and shall not cover or/place beyond the reach of measurement measurement/any work without the consent in writing of the Engineer. If any work shall be covered or placed beyond the reach of measurement without such notice having been given or sanction obtained, the same shall be uncovered at the Contractor's expense or in default thereof, no payment or allowance shall be made for such work or the materials with which the same was executed.

45.   REMOVAL OF IMPERFECT WORK 

Should any work executed by the Contractor at any time before the completion of the period of liability be found to be faulty as regards the workmanship or materials, or not in accordance with the contract documents, or otherwise not satisfactory to the Engineer, the Contractor shall at his own cost rectify, reform, remove or reconstruct the same either in whole or in part as may be directed by the Engineer whether or not the value of such work or material shall have been included in any certificate issued or payment made to the Contractor. The decision of the Engineer as to any question arising under this clause shall be final and conclusive.

46. SUSPENSION OF WORK

(i)   Subject to sub-clause (iii) of this clause the Contractor shall, if ordered in writing by the Engineer, suspend the work or any part thereof for such period and such times as so ordered and shall not after receiving such written order, proceed with the work therein ordered to be suspended until he shall have received a written order to proceed therewith. The Contractor shall not be entitled to claim compensation for any loss or damage sustained by him by reason of the suspension of the works aforesaid. Provided, however, that when  each such period of suspension exceeds 14 days the Company shall be liable to pay to the Contractor any cost incurred by him on the site by way of normal running expenditure resulting from the suspension of the work as aforesaid.

(ii) The Engineer shall assess and determine what is the normal running expenditure during the period of suspension and any extension of time for completion caused by such suspension of the works will be granted to the Contractor on applying as specified elsewhere in the contract.

(iii) Should it appear to the Engineer that any work in progress is being executed in a faulty manner with unsuitable materials or not in accordance with the specifications or by unskilled workmen where skilled workmen should be employed or by means or manner not in accordance with the contract documents or if the suspension is provided for the contract, or is necessary for the proper execution of work by reason of weather conditions, or is necessary for the safety of the works or any part thereof, then the Engineer, may order the immediate! suspension of such faulty work by direct order to the Contractor's supervisory staff and Foreman until such time as the Contractor shall adopt remedial measures to the satisfaction of the Engineer. Such orders shall be complied with immediately and notwithstanding the provisions of sub-clause (1) of this clause, the Contractor shall not be entitled to any extra payment, compensation or extension of time on account of this suspension.

47.   REMOVAL OF IMPROPER WORK AND MATERIALS
(a)   The Engineer shall be entitled to order From time to time (Notwithstanding that the work may have been inadvertently passed, certified and paid for.) 

i)    The removal from the site, within the time specified in the order, of any materials which in his opinion are not in accordance with the specifications of drawings.

ii)   The substitution of proper and suitable materials.

iii) The removal and proper re-execution of any work which in respect of materials or workmanship is not in accordance with the specifications, and in case of default, the Contractor shall be liable to pay compensation at the rate of one percent on the value of such work for every week while his failure to comply shall continue and in the case of any such failure the Engineer shall be entitled to rescind the contract under provisions of clause.

(b)   Materials that have been rejected must on no account be allowed to remain on the site and if in spite of written order to do so, any such rejected material is seen on the site, beyond a period of 48 hours of such n notice, the Engineer shall have the right to remove it at the cost of Contractor and even to destroy it.

48.   INCONVENIENCE TO THE PUBLIC

The Contractor shall not deposit material on any site which may cause inconvenience to the public. The Engineer may request the Contractor to remove at his own cost any materials which are considered by him to be a danger or inconvenience to the public or any other work.
49.   RETURN OF SURPLUS MATERIALS

Notwithstanding anything contained to the contrary in any or all the clause of this contract where any materials for the execution of the contract are procured with the assistance of the Company either by issue from Company stock, or, purchase made under orders, or permits or licenses issued by Government the Contractor shall hold the said materials as trustee for the Company, use such materials economically and solely for the purpose of the contract and not dispose of them without the permission of the Company and return if required, by the Engineer, all surplus or unserviceable materials that may be left with him after the completion of the work or at its termination for any reason whatsoever on his being paid or credited such price as the Engineer shall determine having due regard to the condition of the materials. The price allowed to the Contractor, however, shall not exceed the amount charged to him. The decision of the Engineer shall be final and conclusive. In the even of breach of the aforesaid condition, the contractor shall, in terms of the licenses of permits and/or for criminal breach of trusty be liable to compensate the company at the rate to be determined by the Engineer, and his decision shall be final and conclusive.

50.  ROADS AND WATER COURSES NOT TO BE OBSTRUCTED 

Existing roads or water courses shall not be blocked, cut through, altered, diverted or obstructed in any way by the Contractor without the permission of the Engineer. All compensation or claims for any unauthorised closure, cutting through, alteration, diversion or obstruction to such roads or altered courses by the Contractor, his agent or his staff shall be recoverable from the Contractor by deduction from any sum due to him under the contract or otherwise according to law.  .

51.  RECORD OF WORK

The Contractor or his agent shall keep the Engineer fully informed as to all matters connected with the progress of the work, any modification in procedure for execution, despatch to and delivery at site of material and constructional plant and like matters. The Contractor or his Agent shall keep correct record and progress plans of the work as executed and this shall be supplied to the Engineer for his inspection whenever required.

52.   CONTRACTOR TO SUPPLY PLANT AND EQUIPMENT

The Contractor shall supply at his own cost explosive materials, plants, tools, appliances, implements and temporary works requisite or proper for the execution of the work whether original or altered or substituted and whether included in the specifications or other documents forming parts of the contract or referred to in these conditions or not, or which may be necessary for the purpose of satisfying or complying with the requirements of the  Engineer, as to any matter, as to which, under these conditions, he is entitled to be satisfied or which he is entitled to require, together with carriage therefore.

53.   WORK ON HOLIDAYS 
The work shall be done on Sundays or other holidays that may be notified by the Engineer with the specific sanction in writing of the Engineer.

54.   ACTION WHERE THERE IS NO SPECIFICATIONS

In the case of any class of work over which there is no specification mentioned in the tender documents, such work shall be carried out in accordance with the specifications of the local P.W.D. subject to the approval of the Engineer.

55.   DECISION TO BE FINAL

If the Contractor be dissatisfied with the decision of the Engineer wherever provision is made in the contract on any question, arrangement, amount, matter or thing being settled, decided, certified or determined by the Engineer or his representative or resting upon or being governed or controlled by or submitted to the judgment or opinion of any one of them, the Contractor shall have the right to refer such question, arrangement, amount, matter or thing to the Management whose decision, assessment certificate, determination, judgment or opinion shall be final and conclusive for all purposes and shall be binding on the Company and the Contractor notwithstanding anything in the contract.

56.    SITE TO BE CLEARED

If the Company provides land to the Contractor for the erection of temporary buildings for labour or for any other reasons, the Contractor shall arrange for handing over vacant possession of the said land after the work is completed. Should the Contractor's labour refuse to vacate and have to be ejected by the Company, necessary expenses incurred in connection therewith shall be borne by the Contractor. The Contractor shall have no claim for compensation on account of any loss or damage to property caused during the clearance of the site by the Engineer as provided herein.

57.  CONTRACTOR TO PROVIDE FACILITIES TO OTHER CONTRACTOR

The tenderer must note that in case the building work, sanitary and water supply work and electrical installation work or other work or works are awarded to different Contractors, the activities of all the contractors shall be required to properly coordinated and all contractors shall strictly follow the instructions and directions of the Engineer. 

The building Contractor shall also permit, free of charge, the use of his ladder and ordinary scaffolding (if available in position) to the plumbing, sanitary and/or electrical Contractors. The building Contractor shall, however, not be required to make any special scaffolding for them.

58. PERIOD OF LIABILITY
(a)   If within the period of liability as stipulated in the special condition of contract after a certificate of completion of the work or any part of it has been given by the Engineer, any imperfections become apparent in it, through any cause whatsoever, exception account of earthquakes or insurrection or Civil riot, the contractor shall make the same good at his own expense or in default, the Engineer may call the same to be made good by other means and deduct the expenses of which the certificate of the Engineer in writing shall be final and conclusive, from any sums that may be due or at any time thereafter become due to the Contractor or from the security deposit or the proceeds of sale thereof or of sufficient portion thereof without prejudice to the right of the Company to sue the Contractor for recovery of such extra amount as may be due from him on account of such imperfections.

(b)   The period of liability shall be 18 months from the date of completion of the work, unless a different period has been indicated in the special conditions of contract in which case that period would be the period of liability for the purpose of this clause.

59.   GODOWNS TO BE IN GOOD CONDITION

Godowns or sheds hired for storing of controlled materials and more particularly of cement, shall be such as would prevent the material from getting damaged in any way. All these protectionary works should be done at his own cost.

IV. MEASUREMENTS CERTIFICATES AND PAYMENTS

60.   QUANTITIES IN SCHEDULE 

The quantities set out in the accepted schedule of rates with items or work quantified are the estimated quantities of works and they shall not be taken as the actual and correct quantities of the work to be executed by the Contractor in fulfillment of his obligations under the contract. Any difference between the schedule quantities and the quantities actually carried out shall not form the basis of any claim by the Contractor. The Contractor shall be paid for the quantities as actually executed and measured.

61.   COMPLETION CERTIFICATE

On completion of the work, the Contractor shall be furnished with a certificate by the Engineer of such completion, but no such certificate shall be given nor shall the work be considered to be complete until the Contractor shall have removed from the premises on which the work snail be executed all plant and equipment temporary buildings and structures, surplus materials and rubbish. If the Contractor shall fail to comply with the requirements of this clause, the work shall be deemed to have remained incomplete and the provisions of this contract in respect of non-completion of works before the schedule date, shall be attracted.
62.   PAYMENTS OF INTERMEDIATE MEASUREMENTS TO BE REGARDED AS ADVANCES

The Contractor shall be entitled to be paid every month for work done in the previous month, if it is passed by the Engineer subject to any deduction which may be made under the contract and further subject to a deduction of 1Q by way of security deposit as provided in clause 3 hereof. All such payments shall be regarded as in account payments by way of advance against the final payment only and not as payments for work actually done and completed and shall not preclude the requiring of bad, unsound and imperfect or unskilled work to be removed and taken away and reconstructed or re-erected or to be considered as an admission of the performance of the work or any other part thereof in any respect or the accruing of any claim, nor shall it conclude, determine or affect, in any way, the powers of the Engineer under these conditions or any of them as t o the final settlement and adjustment of the accounts or otherwise or in any other way vary c - affect the contract. The final payment will be made on the basis of final measurements to be taken by the Engineer or his representative. These measurements shall be specifically noted in the measurements book as 'Final Measurements' and signed as such by the Contractor or his accredited representative.

63.   MEASUREMENT OF WORKS

Payment shall be made on the basis of measurements taken by the Engineer or his representative will, when he requires any part of the works to be measured for On-Account or final payment, give notice to the Contractor who shall forthwith attend or s end a qualified agent to assist the Engineer in making such measurements and shall furnish all particulars required by either of them and shall sign the record of measurements taken by the Engineer or his representative in the measurements books of the Company as an acknowledgement of his acceptance of the accuracy of the measurements. Should the Contractor not attend or neglect or omit to send such agent within four days of his being called for witnessing the measurements, then the measurements, and by the Engineer or approved by him shall be deemed to be the correct measurement of the work and binding Contractor.
64.   METHODS OF MEASUREMENTS TO BE DECIDED BY THE ENGINEER

The decision of the Engineer as to the manner in which measurements are to be taken and the calculations made as to all matters relating thereto shall be final and binding on the parties to the contract.

65.   PAYMENT OF CONTRACTOR'S BILLS

Payments due to the Contractor shall be made by NEFT/RTGS as per the account details provided by the Contractor. The Contractor shall always give a stamped receipt duty signed in token of payment of any sums by the Company*
66.   In the case of Contract on percentage rate basis, the accepted percentage will be deducted from/added to the gross amount of the bills for work done.

67.   FINAL DECISION AND FINAL CERTIFICATE.

Upon the expiration of the period of liability and subject to the Engineer having satisfied that the works have been duly maintained by the Contractor during such period as herein before provided and that the Contractor has in all respects duly performed all his obligations under the contract, the Engineer shall without prejudice to the rights of the Company to retain the security deposit or any part thereof in accordance with the provisions of clause 11 or otherwise, give a certificate herein referred to as "Final Certificate" to that effect and the Contractor shall not be considered to have fulfilled the whole of his obligations under the contract until the final certificate shall have been given by the Engineer notwithstanding any previous entry- upon the works or taking possession working or using of the same or any part thereof by the Company*

V.     INSURANCE

68.   INSURANCE

The Contractor shall, at his own expense, carry and maintain insurance with companies satisfactorily to the Company as follows:—

If and when the employees State- Insurance Act 1946 is made applicable -to the site of work, the Contractor agrees to and does hereby accept the full and executive liability for the compliance with all obligations imposed by the Employees State Insurance Act 1948 as modified upto date and the Contractor further agrees to ensure the compliance of all sub- contractors with the application of the said act. The Contractor further agrees to defend, indemnify and hold-harmless FCRI from any liability or penalty which may be passed by any State or local authority by reason of any assorted violation by contractor or sub-contractor of the Employees State Insurance Act 1949 and also from all claims,. suits or proceedings that may be brought against the owner arising under, occurring out of, or by reason of the work provided for by this contract whether brought by employees of the Contractor, by third parties., or by Central or State Governmental authorities, or any political sub-division thereof.

The Company shall retain such sum as may be necessary from the total contract value until the Contractor shall furnish satisfactory proof that all contributions as required by the Employees State Insurance Act 1948 have been paid.

69.   LABOUR LAWS

In the engagement of labour, the Contractor shall comply with all labour laws and rules in force in the area of work. 

70.   WAGES TO LABOUR

The Contractor shall comply with the provision of the relevant labour law and the rules made there under in respect of any employee employed by him on road construction, or in building operations, or in stone-breaking or stone rushing for the purpose of" carrying out this  contract.
71.   PROVISION OF PAYMENT OF WAGES ACT.

The Contractor shall comply with the provisions of the relevant labour law and the rules made there under in respect of employees .employed by him in the works. If in compliance with -the terms of the contract, the contractor may supply labour to be used wholly or partly under direct orders and control of the Engineer, whether in connection with the works to be executed hereunder or otherwise, such labour shall nevertheless be deemed to be person or persons employed by the Contractor and any moneys which may be ordered to be paid by the Engineer on behalf of the Contractor and the Engineer may, on failure of the Contractor to repay such moneys to the Company, deduct the same from any  money due to the Contractor in terms of the contract.
72.   WORKMEN’S COMPENSATION AND EMPLOYER’S LIABILITY
(i) Insurance shall be effected for all the Contractor's employees engaged in the performance of this contract, If any or the work is sublet, the Contractor is to provide, workmen's compensation and Employees Liability Insurance for the latter’s employees unless such employees are covered under the Contractor’s insurance.

(ii) In every case in which by virtue of the provisions of relevant Labour Law, the Company is obliged to pay compensation to a workman employed by the Contractor in executing the work, the Company will recover from the Contractor the amount of the compensation so paid and without prejudice to the rights of the Company under Section 12 Sub-section (2) of the said Act. The Company shall be at liberty to recover such amount or any part thereof by deducting it from the Security Deposit or from any sum due by the Company to the Contractor. The Company shall not be bound to contest any claim made against it under Section 1 2 Sub-section (i) or the said Act, except on the written request of the Contractor and upon his giving to the Company full security for oil costs for which the Company might become liable in consequence of contesting such claims.

VI. TAXES AND SAFETY

73.  TAXES & SAFETY REGULATIONS
The Contractor agrees to and does hereby accept full and exclusive liability for the payment of any and all sales taxes and all contribution and taxes to unemployment, compensation, insurance, old age pension or amenities, now or hereinafter imposed by any Central or State Governmental authority which are imposed with respect to or covered by wages, salaries or other compensation paid to persons employed by the Contractor with all obligations and restrictions imposed by the Labour Law or any other law affecting employer – employees relationship and the contractor further agrees to comply and to secure the compliance of sub-contractors with all applicable Central, State, Municipal and local law and regulations and requirements of any Central, State or local Governmental agencies or authority.

74.   INDUSTRIAL STATISTICS 
The Contractor shall submit full information and statistics to the Company as directed by the Engineer so as to enable the Company to comply with Industrial Statistics Act, 1942.  The Contractor further agrees to obtain from the Sub-contractor and submit to the Company the information and statistics, if any of the work sub-let.

75.   SAFETY CODE 
In respect of all labour directly or indirectly employed on the work for the performance of the Contractor’s part of this agreement the Contractor, shall at his own expense, arrange for adequate safety provisions   The Contractor shall be responsible for and must make good to the satisfaction of the Comply any loss of damage due to fire or to any operation of the work to be done under this agreement or to any other of the Company's existing property.

76.   THE ARRAMGEMENTS FOR WORKERS

The Contractor shall, at, his own expense make adequate arrangements for the housing, supply of drinking water and provisions of lavatories and urinals for the office staff and workmen and for temporary crèches where 50 or more women are employed at a time; all camp sites shall be maintained in clean and sanitary condition by the Contractor at his own cast.

77.   REPORTING OF ACCIDENTS TO LABOUR

The Contractor shall, be responsible for the safety of employees employed by him on the works and shall report serious accidents to any of them, however, and wherever occurring on the works, to the Engineer or his representative and shall make every arrangement to render all possible assistance. This shall be without prejudice to the responsibility of the Contractor under clause 74 of these conditions.

VII.   CLAIMS

78.   (i) Should the Contractor consider that he is entitled to any extra payments or compensation or any claim whatsoever in respect of the works, he shall give notice in writing to the Engineer furnishing detailed particulars of all such claims for extra payment and/or compensation, within ONE day from the ordering of the work or happening of any event upon which the Contractor bases such claims. Failure on the part of the Contractor to put forward any claim with the necessary particulars within the period as aforesaid, shall be a complete waiver of such claims.

(ii)  The Contractor shall not be entitled to make any claim whatsoever against the Company arising oust, of this contract after he has signed a ‘No Claim Certificate’ in favour of the Company after the works ore finally measured up.

ARBITRATION AND LAWS

VIII.   ARBITRATION

79.   a) Except where otherwise provided for in the contract all questions and disputes relating to the meaning of the specifications, designs, drawings and instructions herein before mentioned and as to the quality of workmanship of materials used on the work or as to any other question, claim, right, matter or thing whatsoever in any way arising out of or relating to the contract, designs, drawings, specifications, estimates, instructions, orders for these conditions or otherwise concerning the works, or the execution or failure to execute the same whether arising during the progress of the work or after, the Completion or abandonment thereof shall be referred for arbitration. 

The arbitrator shall be an eminent personality who is well experienced in techno – legal aspects of engineering, planning & construction activities. A panel of such personalities which may include nomination from the contractor also , shall be considered for the appointment of arbitrator by  the Chairman , GC ( FCRI )  & Jt. Secretary Ministry of Heavy Industries , Govt of India.  Alternatively , a consensus candidate, who is having the requisite qualifications as prescribed above and , agreeable to both the parties , can be considered by the chairman for this. There will be no objection if the arbitrator so appointed is in employee of Govt. of India. 
The arbitrator to whom the matter is originally referred being transferred or vacating his office or being unable to act for any reason, Chairman, GC (FCRI) & Joint Secretary, Ministry of Heavy Industries, Govt. of India as aforesaid at the time of such transfer, vacation of office or inability act, shall ** appoint another person to act as arbitrator in accordance with the terms of the contract. Such person shall be entitled to proceed with the reference from the stage at which it was left by his predecessor. It is also a term of this contract that no person other than a person appointed by Chairman, GC (FCRI) & Joint Secretary, Ministry of Heavy Industries, Govt. of India, as aforesaid should act arbitrator and if for any reason, that is not possible the matter is not to be referred to arbitration at all cases where the amount of the claim in dispute is Rs.50,000.00 (Rupees fifty thousand only) and above, the arbitrator shall give reasons for the award.

Subject as aforesaid the provision of the Arbitration Act, 1940, or any statutory modification or re-enactment thereof and the rules made there under and for the time being in force shall apply to the arbitration proceeding under this clause 

** The authority appointing the arbitrator should not be lower in rank than the Authority accepting the Agreement.

The arbitrator(s) may from time to time with consent of the parties enlarge the time, for making and Publishing the award.

The work under the Contract shall, if reasonably possible, continue during the arbitration proceedings and no payment due or payable to the Contractor shall be withheld on account of such proceedings.

The arbitrator shall be deemed to have entered on the reference on the date he issues notice to both the parties fixing the date of the first hearing. 

The arbitrator shall give a separate award in respect of each dispute or difference referred to him.

The venue of arbitration shall be such place as may be fixed by the Arbitrator in his sole discretion.

The award of the arbitrator shall be final, conclusive and binding all parties to this contract.
80.  LAWS GOVERNING THE CONTRACT
This contract shall be governed by the Indian laws for the time being in force.
OVER PAYMENTS AND UNDER PAYMENT 

81. Whenever any claim for the payment of a sum of money to FCRI arises out of or under this Contract against the Contractor the same may be deducted by the FCRI from any sum then due or which at any time thereafter may become due to the Contractor under this Contract and failing that under any other Contract which the FCRI or from any other sum due to the Contractor from the FCRI (Which may be available with the FCRI) or from his   / her security deposit ; or he shall pay the claim on demand.

81.1. The Company/Corporation reserve the right to carry out post-payment audit and technical examination of the final bill including all supporting vouchers abstracts etc. The Company/Corporation further reserve the right to enforce recovery of any over-payment when detected, notwithstanding the fact that the amount of - the final bill may be included by one of the parties as an item of dispute before an arbitrator appointed under Clause 30 of General Conditions of Contract and notwithstanding the fact that the amount of the final bill figures in the arbitration award. 
81.2. If as a result of such audit amid technical examination any over-payment is discovered in respect of any work done by the Contractor or alleged to have been done by him under the Contract, it shall be recovered by the Company/Corporation from the Contractor by nay or all of the methods prescribed above or if any underpayment is discovered, the amount shall be duly paid to the Contractor by the Company/Corporation.

81.3. Provided that the aforesaid right of the Company/Corporation to adjust overpayments against amounts due to the Contractor under any other Contract with the Company/Corporation shall not extend beyond the period of two years from the date of payment of the final bill or in case the final bills is a MINUS BILL from the date of amount payable by the Contractor under the Minus final bill is communicated to the Contractor.

81.4. Any amount due to the Contractor under this Contract for underpayment may be adjusted against any amount then due or which may at any time thereafter become dur before payment is made to the Contractor, from him to the Company/Corporation on any other Contract or account whatsoever.

Note: The winner bidder must submit the General Conditions of Contract duly signed on all pages.The work order will be issued based on this. However the contractor can keep a photocopy of this “Tender Conditions Book” and keep it for Ready Reference as the conditions are binding on the Tendered work.
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MANDATE FORM FOR E-PAYMENT
1 “Name of the Beneficiary FLUID CONTROL RESEARCH INSTITUTE

2 Address Kanjikode (West),

Palakkad, Kerala - 678 623

E mail: feri@feriindia.com

Web: www.feriindia.com

Phone: +91 491 2566120/2566206
2569010 (Marketing)

Fax: +91 491 2566326

3 PAN AAAAFOI38K

4 Name of the Bank State Bank of India (SME Branch)
V&V Apartment Opp ITL, Kanjikode (W),
Palakkad 678 623.

Phone: +91 491 2566411/2566237
Email id : sbi.06640@sbi.co.in

5 Bank Account No 10258760349
6 Type of Account Current
7 Bank Branch RTGS IFSC Code  SBIN0006640
8 Bank Branch Code 06640
9 9 Digit MICR Code of Branch 678002007 L
EE W
Authorjsed Sighatory
BANK CERTIFICATE

We confirm that the detzils given above are correet as per our records.

m
of authorised bank off
.

T





Form for Bank Guarantee for Earnest Money Deposit 

(To be issued by a Public Sector Bank)

(Stamp in accordance with the Stamp Act)

Ref............... 





           Bank Guarantee No.........

Date......................

To,

Fluid Control Research Institute 

Kanjikode West, Palakkad, 

Kerala, India – 678623 

Dear Sir(s),

TENDER NO._______________ 
FOR_________________________________

WHEREAS.....................................................(hereinafter called the Bidder has submitted his Bid no. …………………. Dated……......for ..............................(hereinafter called 'the bid')

KNOW ALL MEN by these presents that WE.........................………………………… are bound unto Fluid Control Research Institute (An autonomous body under Govt. of India, Ministry of Heavy Industries), Kanjikode West, Palakkad, Kerala, India – 678623 (herein after called FCRI) IN THE SUM OF...………………………for which payment well and truly to be made to FCRI, the Bank binds itself its successor and assigns by these presents. Sealed with the Common Seal of the Bank this... day of... 

THE CONDITIONS OF THIS OBLIGATION ARE:

1. If the Bidder withdraws his Bid during the period of Bid validity specified by the Bidder on the Bid Form ; or

2. If the Bidder, having been notified of the acceptance of his bid by FCRI during the period of bid validity but

a) Fails or refuses to execute the Contract Form, if required; or

b) Fails or refuses to furnish the PERFORMANCE SECURITY in accordance with the instructions to bidder.

We undertake to pay FCRI upto the above amount upon receipt of its first written demand, without FCRI having to substantiate its demand, provided that in its demand FCRI will note that the amount claimed by it is due to it owing to the occurrence of one or both of the two conditions specifying the occurred condition or conditions.

The Guarantee will remain in force upto _____________and any demand in respect thereof should reach the BANK not later than the above date.

                   (Signature of the BANK)

Signature of the Witness

Name & Address of Witness:





Date:

VOLUME – III OF III

PRICE BID
TENDER  FORM

I / We hereby tender for the execution for Electrification of VES Test Facility at FCRI specified in the underwritten memorandum within the time specified in such memorandum at item rate entered in the schedule of quantities and in accordance in all respects with the specifications, designs and instructions in writing referred to in tender documents.

MEMORANDUM

a) General description                                       :    
As per tender documents
b) Estimate cost 



   :      
Rs.45.00 Lakhs 
b) Earnest money                                              :   
Rs.40,000/-
c) Timed allowed for the work from the date 

    of issue of Work Order                                  :    
45 days
Should this tender be accepted, I / We hereby agree to abide by and fulfill all the terms and provisions of the General and Special Conditions of contract so far as possible, or in default thereof to forfeit and pay to the Institute or its successors in office. The sum of 

Rs.…………………………………….…………………………………………………………………………………………………………………………………………  paid as earnest money is to be absolutely forfeited to the said Institute or its successors in office, without prejudice to any other rights or remedies of the said Institute or its successors in office, should I /We fail to satisfy the provisions contained in the relevant paragraphs of the tender forms.
DATED:                                                                               SIGNATURE AND ADDRESS OF
                                                                                                            THE CONTRACTOR

Schedule  of  Quantities for Estimate
Name  of  Work : ELECTRIFICATION OF VES TEST FACILITY AT FCRI
	Sl. No

	Description

	Unit

	Qty

	Rate
	Amount

	
	
	
	
	Supply


	Labour


	Supply


	Labour



	A )

	MAIN POWER PANELS AND CABLING
	 
	 
	 
	
	 
	

	1
	Supply and installation of floor mounting type dust and vermin proof cubicle type free standing, (Double walled) 415 V , 3phase, 4 Pole MDO,ACB 3 panel set with adequate metal thickness for load bearing and non -load bearing parts &  with the following details                                                                                                                                                                  1) INCOMER: 1000 A, 35 MVA, ACB with built in Under Voltage, 3 Over current and Earth fault releases, low set earth fault relay 51 G(5A), Shunt trip coil 240v, DG ON, LOAD ON indications, Volt meter  and frequency meter at incoming side and Ammeter and Energy meter at out going side, control fuse etc.                                                                                                                                               2)  Nos of of outgoing ACB Panels with 1000 A, 50kA ACB, built in 3 over  current and earth fault releases, castell key inter locked between 2 out going panels.                                                                                             3) Aluminium inter connecting bus bar of size 2 X 50 X 12.5 for phase and 1X 50x 12.5 mm for neutral.

	Set
	1
	
	
	
	

	2
	Disconnecting after removal of glands 3.5 X 400 sq.mm cable terminations of existing connection in existing DG outgoing panel& reconnecting to new panel with glanding etc.

	Ends
	4
	
	
	
	

	3
	Dismantling and moving the existing outgoing ACB panel of DG set from the existing position to specified location.
	Nos
	1
	
	
	
	

	4
	Fabrication , supply and erection of NEW SB for VES project , self standing, dust and vermin proof indoor panel with 1 No. 800A TPN isolator as incomer  4 Nos of 400A TPN SFU  and 3 nos of 100A SFU as outgoing , Aluminium bus bar 2x50x10 mm for phase and 1x50x10mm for neutral with indication lamps.and voltmeter with selector switch (As per approved drawing of Kerala Electrical Inspectorate) with 2 nos. of cubicle suitable for 100 A & 400 A SFU and panel earthing using 25 X 3 copper flat.

	No.
	1
	
	
	
	

	5
	Supply laying in existing trenches 1.1 kV grade,3.5 X 400 sqmm A2XFY cables from DG set to VES panel , clamping wherever required 
	Mtr
	300
	
	
	
	

	6
	Glanding and end termination of following types of cables including double compression type brass glands and copper/ aluminium socket as required with gland earthing.
	 
	 
	
	
	
	

	6(a)
	3.5 c *400 sqmm gland with aluminium socket

	ends
	6
	
	
	
	

	B )
	SUPPLY TO CRANE AND POWER PLUGS
	 
	 
	
	
	
	

	7
	Supply and laying in along trenches already excavated /existing cable trays 3.5 core , 1.1 kV grade XLPE insulated   50 sqmm armoured aluminium cable from existing P10 panel to VES SB1
	Mtr
	125
	
	
	
	

	8
	Double compression type brass gland fixing and end termination of 3.5core 50 sq.mm armoured AL. cable with gland earthing
	ends
	2
	
	
	
	

	9
	Supply and fixing of sub switch board with 125 TPN isolator as incomer and 4 nos of 100 A and 3 Nos. of  63A SFU as outgoing with 1 cubicles suitable for 63 A TPN SFU
	Each
	1
	
	
	
	

	10
	Supply and laying along existing cable tray or trenches of 1 run of 1.1 kV grade, 4core 16 sqmm  XLPEinsulated armoured aluminium cable from VES  SB1  to crane control panel

	Mtr
	15
	
	
	
	

	11
	Double compression type brassGland fixing and end termination of4 Core 16 sqmm. Cable with gland earthing.

	ends
	2
	
	
	
	

	12
	Supply and fixing of 12 way PDB with 40A 4 pole isolator with 100 mA RCCB, as incomer and 3 Nos. of 32A 3 pole MCB and 8 Nos. of 16 A single phase MCB And one number 25A single phase MCB as  outgoing including earthing using 10 swg copper conductor

	Each
	1
	
	
	
	

	13
	Supply and laying in along trenches already excavated , existing cable trays 4 core XLPE insulated 25 sq mm armoured aluminium cable from existingVES SB1 to PDB

	Mtr
	15
	
	
	
	

	14
	Gland fixing and end termination of 3.5 core 25 sq.mm armoured cable .

	ends
	2
	
	
	
	

	15
	Supply and fixing of 32A , 3 phase industrial type power polug with top with metallic box, MCB control and earthing with 10 SWG copper wire
	Each 
	3
	
	
	
	

	16
	Supply and fixing of 16A , 1 phase industrial type power olug with top with metallic box, MCB control and earthing with 10 SWG copper wire
	Each
	9
	
	
	
	

	17
	Circuit wiring through 25 mm PVC conduit (with ISI mark), from MCB DB using 3 runs of 4 sqmm PVC insulated flexible multi strand copper conductor with 10 SWG copper conductor for earthing and termination at both ends (for three phase industrial power plugs)
	Mtr
	50
	
	
	
	

	18
	Circuit wiring through PVCconduit, 20 mm dia, from MCB DB using 2 runs of 2.5 sqmm PVC insulated flexible multi strand copper conductor ,  with 10 SWG copper conductor for earthing and termination at both ends (for single phase industrial power plugs)

	Mtr
	200
	
	
	
	

	C )
	LIGHTING
	 
	 
	
	 
	
	 

	19
	Supply and fixing of 100A 4 Pole SFU in the existing panel P4 at substation

	Each
	1
	
	
	
	

	20
	Supply and fixing of LSB- VES with 40 A 4 pole isolator with 30 mA RCCB as incomer, 4 Nos of 32A 3 P MCB, 4 Nos of 25 A single phase MCB with earthing .

	Each
	1
	
	
	
	

	21
	Supply and fixing of UPS DB with 40A DP isolator with 30 mA RCCB as incomer, 12 Nos of 6A single phase MCB as outgoing with erathing

	Each
	1
	
	
	
	

	22
	Supply and laying in the already excavated trench XLPE armoured aluminium cable of size 4 Core, 16 sqmm cable 

	Mtr
	150
	
	
	
	

	23
	Double compression type brassGland fixing and end termination of the 4 core 16sqmm cable and gland earthing

	Ends
	2
	
	
	
	

	24
	Supply and fixing of the  LDBs with 40A 4 Pole isolator and 30 mA RCCB as incomer and 6A 12way single pole MCB as outgoing including earthing using 10SWG copper conductor.
	Each
	3
	
	
	
	

	25
	Supply and laying of 4 Core 10 sqmm,1.1 kVgrade XLPE insulated armoured aluminium cable by clamping on walls or in the cable tray.
	Mtr
	50
	
	
	
	

	26
	Gland fixing and end termination of  4 Core 10 sqmm armoured aluminium cable including supply of double compression type cable gland and alumium sockets with gland earthing using 10 SWG copper wire 
	Ends
	6
	
	
	
	

	27
	Circuit wiring throughPVC conduit (with ISI mark), 25mm dia, from LDB using 3 runs of 2.5 sqmm PVC insulated flexible multi strand copper conductor 
	Mtr
	200
	
	
	
	

	28
	Circuit wiring through PVCconduit (with ISI mark), 25mm dia, from LDB using 5 runs of 2.5 sqmm PVC insulated flexible multi strand copper conductor 
	Mtr
	100
	
	
	
	

	29
	Providing light/ fan point (with electronic regulator)/exhaust fan point wiring using 1.5 sqmm PVC insulated muti strand copper conductor for phase and neutral and earth , surface mounted PVC conduit 20mm dia, modular switch, painted metallic box, modular plate, ceiling rose, accessories etc.(switch boards upto 4 switches and one  switch socket outlet)
	 
	 
	
	 
	 
	

	30 (A)
	Points upto 3m
	Each
	15
	
	
	
	

	30 (B)
	Points 3m - 6m
	Each
	10
	
	
	
	

	30 
(C )
	Points beyond 6m
	Each
	10
	
	
	
	

	31
	Supply and fixing of 16A switch socket outlets on metallic boxes, modular switches and front plate, surface mounted
	Each point
	3
	
	
	
	

	32
	Supply and fixing of the following type of luminaries with suitable connectors/ ceiling rose etc and testing and commissioning.
	 
	 
	
	
	
	

	A ) 
	20W LED tube set
	Each
	15
	
	
	
	

	B )
	35W BLDC ceiling fan
	Each
	3
	
	
	
	

	C)
	HIGH BAY LED FITTINGS , 150W
	Each
	15
	
	
	
	

	 D) 
	Exhaust FanHeavy Duty , 450mm (or nearby) with mettalic blades
	Each
	4
	
	
	
	

	( E) 
	Out door wall mounted LED lights 50 W
	Each
	6
	
	
	
	

	F )
	40 W LED tube set
	Each
	10
	
	
	
	

	( G)
	Providing modular 6A switch socket outlet in painted metallic box of appropriate size, modular cover plate, all accessories and inter connections.
	Each
	10
	
	
	
	

	 D )

	EARTHING
	 
	 
	
	 
	 
	

	33
	Providing and fixing GI pipe earth electrode 50 mm Dis, 3.0 m long with excavation, filling with alternate layers of charcoal and salt, eart lead connector on top, chamber with CI cover complete as per IS 3043
	Each
	3
	
	
	
	

	34
	Supply and laying of 25 X 3 copper flat as earth bus inter connection with the earth pits, panel board earthing using , drilling holes tinning the ends and joints complete 
	Mtr
	250
	
	
	
	

	35
	Supply, abrication of Cable trays using MS Cable tray with suitable sizes of Angles, flats and applying 2 coats of black paint over a coat of primer after scrapping the surface
	Kg
	100
	
	
	
	

	36
	Supply and laying of 10 SWG bare copper conductor for earthing with providing tinned copper earth  bus using 25x3 mm copper flat with inter connections wherever necessary .

	Mtr
	90
	
	
	
	

	E )

	CABLE TRENCH EXCAVATION
	 
	 
	
	
	
	 

	37
	Excavation and refilling cable trnch with a minimum depth of 100 cm , sand cushioning suitable for  2R of 50 mm2 cable and providing bricks on top of the cable for protection and refilling the excavated soil with cable route markers.

	Mtr
	150
	
	
	
	

	F )
	APPROVALS
	 
	 
	
	
	
	

	38
	Submission of completion report, AS FITTED drawing etc. the electrical inspectorate for final inspection (Scheme approval already obtained)
	L/s
	-
	
	
	
	

	39
	Remittance of statutory fees, scrutiny fee/ inspection fee etc. to Govt. Departments
	Actuals
	-
	
	
	
	

	 
	TOTAL

	
	

	
	TOTAL SUPPLY + LABOUR


	

	
	GST @ 
	

	 
	GRAND TOTAL
	

	 
	(Rs. …..
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